Supplementary Methods S1:

Extended Description of Methods

The ash sample was prepared and analyzed at the Isotope Geology Laboratory at Boise State University, Idaho, USA.

S1.1. Sample Preparation and Grain Size

The 30 g sample of highly reworked ash contained >10 000s of predominantly rounded zircon (>99.7 %). Only 26 sharply faceted zircon were sufficiently large (>60 µm) to be mounted for cathodoluminescence imaging. Grain sizes of zircon was measured from microscope images and cathodoluminescence images.

S1.2. Cathodoluminescence

The grains were annealed at 900oC for 60 hours to remove lattice radiation damage from natural alpha, alpha recoil and spontaneous fission processes. The grains were then mounted in epoxy and polished to expose their interiors. Cathodoluminescence (CL) images (Fig. 5) were taken with a Hitachi TM4000Plus scanning electron microscope.

S1.3. Laser ablation coupled Plasma Mass Spectrometry (LA-ICPMS)

Laser ablation inductively coupled plasma mass spectrometry (LA-ICPMS) was performed on the 26 sharply faceted zircon grains. An iCAP RQ Quadrupole ICP-MS and Teledyne Photon Machines Analyte Excite+ 193 nm excimer laser ablation system was used with HelEx II Active two-volume ablation cell. The laser spot has a width of 15 µm and excavated ~7 µm deep, using a fluence of 2.5 J/cm2 and a pulse rate of 10Hz on a gas blank (15s) and the zircon (10s). The carrier gas is He. Instrumental data are provided in Appendix A. Calibration of U-Pb dates followed in-house analytical protocols, standard material and data reduction software. Background count rates were measured for each spot analysis and subtracted from the raw count rate. Results were rejected for samples that appeared to have been contaminated by common lead above baseline. Ablated material from mineral inclusions and glass were identified by their Ti and P values, and omitted where they yielded abnormal U-Pb values. Results were internally normalized to 29Si and calibrated with primary standards NIST SRM-610 and NIST SRM-612 glasses. The Ti-in-zircon thermometer after Watson et al. (2006) was applied, using the average value of crustal rocks (0.6).

Calibration of standards, reference materials, and correction of U-Pb and 207Pb/206Pb included consideration of instrumental fractionation and background-subtracted ratios. The primary standard Plešovice zircon (Sláma et al., 2008) was used to monitor time-dependent instrumental fractionation every 12 analyses of unknown zircon. Two zircon standards Seiland (531 Ma, Kuiper et al., 2022) and 91500 (1065 Ma, Wiedenbeck et al., 1995), were measured once for every 12 analyses of unknown zircon.

Uncertainty contributions from counting statistics and background subtraction are considered in radiogenic isotope ratio and age error propagation. Uncertainties for the fractionation factor of 206Pb/238U are at 1.5% (2σ) and 1.4% (2σ) for 207Pb/206Pb. Errors without and with the standard calibration uncertainty are shown in Appendix A. Weighted mean date is calculated from the probability density function of Isoplot 3.0 (Ludwig, 2003), with subsequent error propagation for the standard calibration uncertainty. Age interpretations are based on 206Pb/238U dates, and on 207Pb/206Pb dates for analyses when 207Pb/206Pb and 206Pb/238U dates generate dates older than 1500 Ma.  Results with discordance (relative difference between the 207Pb/235U and 206Pb/238U dates) at uncertainty >5% were removed. Errors are at 2σ.

S1.4. Chemical Abrasion Thermal Ionization Mass-Spectrometry

U-Pb dates were obtained from single zircon grains using the chemical abrasion isotope dilution thermal ionization mass spectrometry (CA-TIMS) method, modified after Mattinson (2005). Seven zircon grains that yielded youngest Cretaceous LA-ICPMS dates were selected. Grains were chemically abraded with 29 M HF for 12 hours at 190°C. HF was removed and zircon was cleaned with 3.5 M HNO3  and treated at 80°C for an hour. Rinsed zircon were spiked with EARTHTIME mixed 233U-235U-205Pb tracer solution (ET535). Zircon was dissolved in 29 M HF at 220°C for 48 hours, then dried into fluoride salts and re-dissolved in 6M HCl at 180°C. U and Pb were extracted using the anion-exchange chromatographic procedure after Krogh (1973) and prepared for isotopic measurement after Gerstenberger and Haase (1997).

U and Pb isotopic measurements were made on a GV Isoprobe-T multicollector thermal ionization mass spectrometer equipped with an ion-counting Daly detector. Pb isotopes were measured for 160 cycles and corrected for 0.16 ± 0.03%/a.m.u. (1σ) mass fractionation. Ionization efficiency averaged 104 cps/pg of each Pb isotope. Analysis of the NBS982 was used for correction of linearity (to ≥1.4 x 106 cps) and the associated deadtime of the Daly detector. U was analyzed in static Faraday mode on 1012 ohm resistors for 300 cycles. Correction of isobaric interference of 233U18O16O on 235U16O16O was done using the 18O/16O ratio of 0.00206. Correction of the U mass fractionation applied the 233U/235U ratio of the tracer solution ET535.

U-Pb dates were calculated after Schmitz and Schoene (2007) and with respect to the tracer solution ET535 calibration of 235U/205Pb = 100.233 233U/235U = 0.99506, and 205Pb/204Pb = 11268 (Condon et al., 2015). Decay constants of U were applied after Jaffey et al. (1971), and Hiess et al. (2012) with 238U/235U of 137.818. The dates were corrected for initial 230Th disequilibrium, using DTh/U = 0.2 ± 0.1 (2σ) and the algorithms of Crowley et al. (2007), which increases the age dates by ~0.09 Ma. Laboratory Pb isotopic composition was measured and subtracted from the returned common Pb values. U blanks are estimated at 0.013 pg. The weighted mean age for these grains was then calculated using Isoplot 3.0 (Ludwig, 2003) with 95% confidence intervals.

References

Condon, D.J., Schoene, B., Mclean, N.M., Bowring, S.A., & Parrish, R.R. (2015) Metrology and traceability of U-Pb isotope dilution geochronology (EARTHTIME tracer calibration part I). Geochimica et Cosmochimica Acta 164, 464–480.

Crowley, J.L., Schoene, B., & Bowring, S. (2007). U-Pb dating of zircon in the Bishop Tuff at the millennial scale. Geology 35, 1123–1126.

Gerstenberger, H., & Haase, G. (1997). A highly effective emitter substance for mass spectrometric Pb isotope ratio determinations. Chemical Geology 136, 309–312.

Hiess, J., Condon, D.J., Mclean, N., & Noble, S.R. (2012). 238U/235U systematics in terrestrial uranium-bearing minerals. Science 335, 1610–1614.

Jaffey, A.H. Flynn, K.F., Glendenin, L.E., Bentley, W.C., & Essling, A.M., (1971). Precision measurements of half-lives and specific activities of 235U and 238U. Physical Review 4, 1889–1906.

Krogh, T.E. (1973). A low contamination method for hydrothermal decomposition of zircon and extraction of U and Pb for isotopic age determination. Geochimica et Cosmochimica Acta 37, 485–494.

Ludwig, K.R. (2003). User’s Manual for Isoplot 3.00.. Berkeley, CA, Berkeley Geochronology Center, 1–70.

Mattinson, J.M. (2005). Zircon U–Pb chemical abrasion (“CA-TIMS”) method: combined annealing and multi-step partial dissolution analysis for improved precision and accuracy of zircon ages. Chemical Geology 220, 47–66.

Schmitz, M.D., & Schoene, B. (2007). Derivation of isotope ratios, errors, and error correlations for U-Pb geochronology using 205 Pb- 235 U-( 233 U)-spiked isotope dilution thermal ionization mass spectrometric data: Geochemistry, Geophysics, Geosystems (G3) 8, 1–20.