## Table S1 Instrumental data
Table S1: Metadata for LA-ICP-MS U-(Th-)Pb analyses
Laboratory and Sample Preparation
Laboratory name | Boise State University Isotope Geology Laboratory
Sample type/mineral | Zircon
Sample preparation | Conventional mineral separation, 1 inch resin mount, 0.3 mm polish to finish
Imaging | CL, Hitachi TM400Plus, 20 nA, 19 mm working distance
Laser ablation system
Make, Model and type | Teledyne (Photon Machines) Analyte Excite+
Ablation cell and volume | HelEx II active 2-volume ablation cell
Laser wavelength (nm) | 193 nm ArF excimer
Pulse width (ns) | 4 ns
Fluence (J cm-2) | energy stabilization mode, set daily at ~2.5 J cm-2 using in-cell EPC utility
Repetition rate (Hz) | 10 Hz
Ablation duration (s) | 10 s
Ablation pit depth / ablation rate | 7 mm pit depth, measured using an optical microscope, equivalent to 0.1 mm/pulse
Spot diameter (mm) | 15 mm
Sampling mode / pattern | Static spot ablation
Cell carrier gas flow (l min-1) | 0.25 L min-1 He cup flow, 1.25 L min-1 He cell flow
ICP-MS Instrument
Make, Model and type | ThermoElectron, iCAP-RQ, single quadrupole mass spectrometer
Sample introduction | 190 cm long, 1 cm i.d. PFA tubing with Glass Expansion sample mixing chamber, 2.5 mm quartz injector; Ni cones, high-sensitivity skimmer insert
RF power (W) | 1400 W
Make-up gas flow (l min-1) | ~0.65 l min-1 Ar and 2 mL min-1 N2 gas introduced in mixing bulbs between cell and torch
Detection system | single ion-counting SEM
Masses measured and dwell times per peak (ms) | 89Y, 91Zr, 177Hf, (2), 31P, 93Nb, 140Ce, 146Nd, 147Sm, 151Eu, 157Gd, 159Tb, 163Dy, 165Ho, 166Er, 169Tm, 172Yb, 175Lu, 181Ta, (5), 29Si, 139La, 141Pr, 202Hg, 204Hg, 232Th, 238U, (10), 208Pb, (20), 206Pb, (40), 207Pb, (60), 49Ti, (100)
Total integration time (s) | ~ 0.371 s
‘Sensitivity’ as useful yield | 0.8% U [(#ions detected/#atoms sampled)*100+B28]
IC Dead time (ns) | 44 ns
Data Processing
Gas blank | 15 s on-peak zero subtracted.
Calibration strategy | Mean of ratios; mass discrimination from interspersed zircon standard materials.
Common-Pb correction | No common-Pb correction applied; sweeps with mass 204 signals above background rejected.
Data processing packages | ThermoElectron Qtegra TRA software for integrated cps acquisition; in-house Microsoft VBA coded spreadsheet for data normalisation, concentration calibration, uncertainty propagation and age calculation.
Uncertainty level and propagation | Ages quoted at 2 sigma absolute; propagation is by quadratic addition. Systematic errors from reproducibility of primary reference material propagated where appropriate.
Discordance criteria | Discordance is the relative difference between the measured 207Pb/235U and 206Pb/238U dates; discordance outside of uncertainty of 5% is flagged with strikethrough font in Table S2.
Interpreted age transition | The transition from preferred interpretation of 207Pb/206Pb to 206Pb/38U dates is set at 1500 Ma; preferred date is flagged with bold font in Table S2.
Mass discrimination corrections (1 sigma) | 207Pb/206Pb fractionation error (from PL): 0.69% [Zircon_25July22_MacEachern_Malkowski]
206Pb/238U fractionation error (from PL): 0.76% [Zircon_25July22_MacEachern_Malkowski]
208Pb/232Th fractionation error (from PL): 2.06% [Zircon_25July22_MacEachern_Malkowski]
Quality control & validation standards | Plešovice (PL) (Slama et al. 2008); 336.9 Ma
Seiland (Kuiper et al., 2021); 530.6 Ma
91500 (Wiedenbeck et al., 1995); 1065.4 Ma
Quality control & validation results (2 sigma) | Zircon_25July22_MacEachern_Malkowski: 91500 (206Pb/238U) = 1069 ± 17 (MSWD = 0.7, pof = 0.75, n = 11)
Zircon_25July22_MacEachern_Malkowski: Seiland (206Pb/238U) = 525 ± 7 (MSWD = 1.6, pof = 0.08, n = 12)

## Table S2 Sample data
Table S2: U-Pb geochronologic analyses and trace element concentrations. | [76 empty] | activity (SiO2) = | 1 | [14 empty] | Secondary Correction - Apparent ages (Ma)
[34 empty] | Common Pb corrected dates | [42 empty] | activity (TiO2) = | 0.6 | [14 empty] | No Bias |  |  | Pb bias |  |  | U bias |  |  | Secondaray Standard Correction Data
[5 empty] | Composition | [7 empty] | Corrected isotope ratios | [12 empty] | Dates (Ma) | [7 empty] | 207-method |  | 208-method | [11 empty] | Concentrations (ppm) | [13 empty] | CI chondrite normalizing values from Sun & McDonough
| CA-TIMS label | U | Th | Pb |  | 206Pb | 206Pb |  | 208Pb | ±2s | 207Pb | ±2s | 206Pb | ±2s | error | 238U | ±2s | 207Pb | ±2s | 208Pb | ±2s | ±2s-sys | 207Pb | ±2s | ±2s-sys | 207Pb | ±2s | ±2s-sys | 206Pb | ±2s | ±2s-sys | disc. | ±2s | 206Pb* | ±2s | 206Pb* | ±2s | [24 empty] | 0.237 | 0.612 | 0.095 | 0.467 |  | 0.153 | 0.058 | 0.2055 | 0.0374 | 0.254 | 0.0566 | 0.1655 | 0.0255 | 0.17 | 0.0254 |  | Ti-in-zircon | [14 empty] | 206Pb* | ±2s | % | 206Pb* | ±2s | % | 206Pb* | ±2s | % | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | samples |  |  | %dev
Analysis | - Grain | ppm | ppm | ppm | Th/U | cps | 204Pb | ±1s | 232Th | (%) | 235U | (%) | 238U | (%) | corr. | 206Pb | (%) | 206Pb | (%) | 232Th | (Ma) | (Ma) | 206Pb | (Ma) | (Ma) | 235U | (Ma) | (Ma) | 238U | (Ma) | (Ma) | (%) | (%) | 238U* | (Ma) | 238U* | (Ma) | P | Ti | Y | Zr | Nb | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | Th | U | Experiment | La | Ce | Pr | Nd | Pm | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu |  | T(°C) | Ce/Ce* | Eu/Eu* | ∑REE | (Gd/Yb)cn | Lu/Hf | Nb/Ta | Nb/U | Nb/Th | Th/U | Th/Y | Hf/Y |  |  |  | 238U* | (Ma) | disc. | 238U* | (Ma) | disc. | 238U* | (Ma) | disc. | 206 cps |  |  |  |  | 238 cps |  |  |  |  | 206 cps | 238 cps | %dev | (Pb) | (U)
LMCM Ash 15 |  | 146.0393 | 128.0146 | 110.2109 | 0.87658 | 52146.7258 | 6952.8235 | 107.8373 | 0.1463 | 5.0784 | 13.2558 | 5.0133 | 0.51334 | 4.5116 | 0.85832 | 1.948 | 4.5116 | 0.18728 | 2.1862 | 2759.7237 | 131.0028 | 168.129 | 2718.4359 | 36.0335 | 42.5398 | 2698.04 | 47.3339 | 51.2362 | 2670.8939 | 98.6548 | 104.3851 | 1.0061 | 4.048 | 2736.7014 | 139.3593 | 2728.7136 | 107.685 | 246.8153 | 9.0126 | 1922.5454 | 329931.4059 | 1.3535 |  | 11.5627 | 0.26784 | 6.006 | 8.566 | 1.7238 | 58.0863 | 17.6929 | 189.3147 | 67.6587 | 277.0492 | 57.061 | 475.5029 | 93.8878 | 6308.8364 | 0.90902 | 128.0146 | 146.0393 | Zircon_25July22_MacEachern_Malkowski | 0.070632 | 18.8934 | 2.8193 | 12.8608 |  | 55.9871 | 29.7213 | 282.6582 | 473.0712 | 745.3335 | 1195.384 | 1674.0133 | 2237.6843 | 2797.0757 | 3696.3698 |  | 785.598 | 42.3387 | 0.23626 | 1264.3798 | 0.10105 | 0.014882 | 1.489 | 0.0092683 | 0.010573 | 0.87658 | 0.066586 | 3.2815 |  |  | LMCM Ash 15 | 2731.3833 | 103.4102 | -0.27299 | 2670.8939 | 104.3851 | 1.0061 | 2771.419 | 102.77 | -1.1146 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 52146.7258 | 108745.8505 | 0 | 2.7041 | -1.8038
LMCM Ash 24 |  | 96.7625 | 78.739 | 68.4857 | 0.81373 | 35506.1692 | 3550.5608 | 90.5248 | 0.14683 | 5.68 | 12.437 | 4.5809 | 0.49224 | 3.3715 | 0.67607 | 2.0315 | 3.3715 | 0.18325 | 3.1012 | 2769.0592 | 146.9851 | 182.3386 | 2682.4699 | 51.2883 | 56.0067 | 2637.978 | 43.0522 | 47.1647 | 2580.3732 | 71.6943 | 78.7562 | 2.1837 | 3.1519 | 2573.3464 | 95.8651 | 2586.6722 | 79.1458 | 185.7173 | 9.0583 | 416.8734 | 322294.2314 | 1.3091 |  | 39.1789 | 0.082744 | 1.5784 | 2.1257 | 0.8238 | 13.7879 | 3.707 | 40.3662 | 13.5301 | 59.0649 | 13.0896 | 130.7836 | 27.3751 | 6783.6284 | 0.56468 | 78.739 | 96.7625 | Zircon_25July22_MacEachern_Malkowski | 0.021821 | 64.0177 | 0.87099 | 3.3799 |  | 13.8937 | 14.2034 | 67.0944 | 99.119 | 158.9222 | 239.0482 | 356.8879 | 513.318 | 769.3155 | 1077.7606 |  | 786.1104 | 464.3666 | 0.4652 | 345.4942 | 0.087213 | 0.0040355 | 2.3183 | 0.013529 | 0.016626 | 0.81373 | 0.18888 | 16.2726 |  |  | LMCM Ash 24 | 2601.6856 | 78.4962 | 1.7256 | 2580.3732 | 78.7562 | 2.1837 | 2642.8423 | 77.9967 | 0.84442 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 35506.1692 | 78330.2185 | 0 | 0.99393 | -1.9287
LMCM Ash 16 |  | 161.0612 | 177.6868 | 77.3486 | 1.1032 | 36727.1884 | 638.7298 | 15.8258 | 0.10158 | 4.1644 | 4.9837 | 5.3051 | 0.32791 | 3.6669 | 0.64291 | 3.0496 | 3.6669 | 0.11023 | 3.8338 | 1955.47 | 77.6175 | 108.8242 | 1803.1712 | 69.7218 | 74.0442 | 1816.5556 | 44.8644 | 48.1215 | 1828.241 | 58.3711 | 63.2783 | -0.64327 | 4.0625 | 1851.7457 | 66.5726 | 1830.171 | 67.8962 | 363.9629 | 12.1102 | 2814.5014 | 346010.2474 | 2.4863 |  | 17.6864 | 0.64068 | 11.1275 | 15.0315 | 1.333 | 72.0546 | 23.9629 | 268.8291 | 94.7784 | 378.6112 | 76.282 | 635.0285 | 115.3835 | 6391.9556 | 1.0717 | 177.6868 | 161.0612 | Zircon_25July22_MacEachern_Malkowski | 0.16896 | 28.8994 | 6.744 | 23.8277 |  | 98.2453 | 22.9835 | 350.6306 | 640.7185 | 1058.3825 | 1674.5294 | 2287.6808 | 2991.4495 | 3735.462 | 4542.6578 |  | 816.4236 | 27.0735 | 0.12383 | 1710.7494 | 0.093865 | 0.018051 | 2.3199 | 0.015437 | 0.013993 | 1.1032 | 0.063133 | 2.2711 |  |  | LMCM Ash 16 | 1846.237 | 63.1019 | -1.1036 | 1828.241 | 63.2783 | -0.64327 | 1874.3759 | 62.8271 | -1.8207 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 36727.1884 | 120220.6925 | 0 | 1.1194 | -1.7566
LMCM Ash 4 | A | 188.8984 | 69.769 | 76.8875 | 0.36935 | 43320.6303 | 153457.7004 | 1375.8893 | 0.096522 | 5.6239 | 5.0425 | 5.3972 | 0.32813 | 4.0033 | 0.69717 | 3.0475 | 4.0033 | 0.11145 | 3.6198 | 1862.4174 | 100.0592 | 122.5981 | 1823.2513 | 65.6681 | 70.3296 | 1826.4947 | 45.7325 | 49.0043 | 1829.3351 | 63.7601 | 68.3508 | -0.15551 | 4.2982 | 1862.9928 | 72.5363 | 1858.2352 | 66.4549 | 266.5637 | 8.1263 | 1208.6306 | 331437.651 | 3.3398 |  | 10.3884 | 0.060994 | 2.4843 | 7.0105 | 0.52457 | 33.1021 | 10.7249 | 119.0902 | 45.0063 | 187.252 | 37.8656 | 348.8046 | 63.1581 | 5865.2591 | 1.6366 | 69.769 | 188.8984 | Zircon_25July22_MacEachern_Malkowski | 0.016085 | 16.9744 | 0.64204 | 5.3197 |  | 45.8204 | 9.0444 | 161.0806 | 286.7614 | 468.8592 | 795.164 | 1131.4319 | 1484.9271 | 2051.792 | 2486.5398 |  | 775.2046 | 167.0345 | 0.10528 | 865.4726 | 0.078507 | 0.010768 | 2.0407 | 0.01768 | 0.047869 | 0.36935 | 0.057726 | 4.8528 |  |  | LMCM Ash 4 | 1858.4141 | 68.0431 | -0.8975 | 1829.3351 | 68.3508 | -0.15551 | 1885.1367 | 67.7617 | -1.5763 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 43320.6303 | 144083.118 | 0 | 1.797 | -1.6586
LMCM Ash 3 | A | 161.0897 | 50.9228 | 63.0907 | 0.31611 | 35973.3755 | 669.2649 | 14.6401 | 0.094792 | 7.4211 | 4.8075 | 5.5546 | 0.32305 | 4.0084 | 0.67829 | 3.0955 | 4.0084 | 0.10793 | 3.8452 | 1830.4993 | 129.8737 | 147.3143 | 1764.7927 | 70.262 | 74.7077 | 1786.2073 | 46.6885 | 49.8253 | 1804.6016 | 63.0932 | 67.5586 | -1.0298 | 4.4103 | 1828.1116 | 71.6641 | 1820.7963 | 65.5254 | 283.6789 | 8.7722 | 805.1709 | 323359.0689 | 2.6226 |  | 9.394 | 0.11003 | 1.2685 | 3.6465 | 0.38052 | 19.9562 | 7.176 | 76.2503 | 29.5762 | 128.7077 | 27.7212 | 247.7111 | 47.2839 | 6297.7134 | 1.1587 | 50.9228 | 161.0897 | Zircon_25July22_MacEachern_Malkowski | 0.029016 | 15.3496 | 1.1582 | 2.7162 |  | 23.8335 | 6.5607 | 97.1105 | 191.8717 | 300.1982 | 522.5477 | 777.6898 | 1087.1054 | 1457.1242 | 1861.5711 |  | 782.8636 | 83.7313 | 0.13637 | 599.1821 | 0.066645 | 0.0075081 | 2.2633 | 0.01628 | 0.051501 | 0.31611 | 0.063245 | 7.8216 |  |  | LMCM Ash 3 | 1821.1534 | 67.3854 | -1.4559 | 1804.6016 | 67.5586 | -1.0298 | 1848.9122 | 67.0958 | -2.168 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 35973.3755 | 120990.6733 | 0 | 1.0419 | -1.7534
LMCM Ash 21 | F | 107.8377 | 103.594 | 44.2932 | 0.96065 | 21220.0424 | 21220.0424 | 531.3439 | 0.087278 | 5.8521 | 4.0688 | 6.8573 | 0.29894 | 4.1008 | 0.565 | 3.3452 | 4.1008 | 0.098715 | 5.4961 | 1691.307 | 94.9491 | 116.4197 | 1599.9916 | 102.5522 | 105.6573 | 1648.065 | 55.8915 | 58.299 | 1686.0327 | 60.838 | 64.8335 | -2.3038 | 5.066 | 1687.126 | 68.4374 | 1677.4358 | 69.8891 | 380.7492 | 14.0608 | 1037.7284 | 344279.7251 | 2.9307 |  | 37.615 | 0.096937 | 1.9052 | 3.7134 | 1.1225 | 22.4588 | 8.065 | 98.1769 | 37.587 | 172.9365 | 38.6227 | 364.7591 | 76.5685 | 6741.2823 | 0.86435 | 103.594 | 107.8377 | Zircon_25July22_MacEachern_Malkowski | 0.025564 | 61.4624 | 1.0204 | 4.0796 |  | 24.2705 | 19.3539 | 109.2885 | 215.6409 | 386.5231 | 664.0812 | 1044.9338 | 1514.6152 | 2145.6416 | 3014.5093 |  | 832.6997 | 380.5542 | 0.37579 | 863.6274 | 0.050935 | 0.011358 | 3.3906 | 0.027177 | 0.02829 | 0.96065 | 0.099828 | 6.4962 |  |  | LMCM Ash 21 | 1679.0258 | 64.904 | -2.1175 | 1686.0327 | 64.8335 | -2.3038 | 1707.4499 | 64.6185 | -2.8719 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 21220.0424 | 78707.9816 | 0 | -0.47428 | -1.9272
LMCM Ash 22 | F | 86.0019 | 67.4902 | 34.1641 | 0.78475 | 16494.6717 | 3122.7125 | 75.2739 | 0.093565 | 4.49 | 4.1604 | 5.5107 | 0.29676 | 4.815 | 0.83879 | 3.3698 | 4.815 | 0.10168 | 2.6804 | 1807.8405 | 77.6479 | 105.8295 | 1654.9897 | 49.6597 | 55.7026 | 1666.2513 | 45.1118 | 48.0706 | 1675.206 | 71.0317 | 74.4126 | -0.53742 | 5.0578 | 1661.7984 | 78.7044 | 1645.8992 | 79.1786 | 427.4043 | 12.9298 | 1124.4377 | 348973.3154 | 2.6654 |  | 30.5253 | 0.06842 | 1.1754 | 2.9444 | 0.93336 | 19.6484 | 7.3558 | 93.2038 | 36.6489 | 165.6949 | 40.6807 | 370.6277 | 77.8825 | 7059.4652 | 1.2616 | 67.4902 | 86.0019 | Zircon_25July22_MacEachern_Malkowski | 0.018043 | 49.878 | 0.72022 | 2.517 |  | 19.2446 | 16.0924 | 95.6128 | 196.6795 | 366.9439 | 647.5073 | 1001.1774 | 1595.3214 | 2180.1628 | 3066.2408 |  | 823.5011 | 437.541 | 0.37515 | 847.3896 | 0.043856 | 0.011032 | 2.1127 | 0.030992 | 0.039493 | 0.78475 | 0.060021 | 6.2782 |  |  | LMCM Ash 22 | 1661.1644 | 74.5749 | -0.1644 | 1675.206 | 74.4126 | -0.53742 | 1690.3053 | 74.2385 | -0.93753 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 16494.6717 | 62325.3773 | 0 | -0.95992 | -1.9945
[23 empty] | 1645 | 45 | Weighted mean date based on dates shown in bold. Error includes the standard calibration uncertainty. MSWD = 0.9, probability of fit = 0.33
LMCM Ash 7 | B | 64.652 | 101.0032 | 26.632 | 1.5623 | 11788.5991 | 713.0495 | 15.465 | 0.080479 | 5.835 | 3.4917 | 10.3174 | 0.26501 | 5.082 | 0.47431 | 3.7735 | 5.082 | 0.095561 | 8.9789 | 1564.5128 | 87.8456 | 106.5652 | 1539.1413 | 168.8837 | 170.8773 | 1525.3376 | 81.4376 | 83.0116 | 1515.402 | 68.6302 | 71.5444 | 0.65137 | 6.9555 | 1492.5286 | 75.7622 | 1479.8478 | 88.0069 | 232.9479 | 27.4097 | 1121.7962 | 327656.3558 | 1.9664 |  | 43.74 | 0.28308 | 5.8939 | 12.6168 | 2.0738 | 42.2466 | 11.2018 | 124.915 | 39.2503 | 159.6835 | 33.1628 | 290.1753 | 51.5113 | 6334.1621 | 0.78179 | 101.0032 | 64.652 | Zircon_25July22_MacEachern_Malkowski | 0.074651 | 71.4706 | 2.9798 | 12.6207 |  | 82.4625 | 35.7544 | 205.5794 | 299.5134 | 491.7915 | 693.4685 | 964.855 | 1300.5026 | 1706.9136 | 2028.0038 |  | 911.8202 | 151.5371 | 0.27461 | 816.7542 | 0.12044 | 0.0081323 | 2.5153 | 0.030415 | 0.019469 | 1.5623 | 0.090037 | 5.6464 |  |  | LMCM Ash 7 | 1496.1559 | 71.7583 | 1.1814 | 1515.402 | 71.5444 | 0.65137 | 1523.4006 | 71.4557 | 0.43165 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 11788.5991 | 50080.0724 | 0 | -1.4436 | -2.0448
LMCM Ash 6 | B | 81.8812 | 147.2034 | 33.7947 | 1.7978 | 14096.7083 | 322.2069 | 10.0186 | 0.076491 | 5.5526 | 3.0894 | 6.3763 | 0.25613 | 4.5089 | 0.67378 | 3.9043 | 4.5089 | 0.08748 | 4.5085 | 1489.7683 | 79.7461 | 98.2728 | 1371.102 | 86.7496 | 90.7511 | 1430.0563 | 48.9115 | 51.3581 | 1470.009 | 59.2677 | 62.4621 | -2.7938 | 5.4348 | 1460.6985 | 64.7072 | 1444.1505 | 79.9299 | 283.2295 | 28.6582 | 1540.033 | 340659.9151 | 1.9812 | 0.049362 | 53.4325 | 0.59469 | 11.2173 | 15.1408 | 3.5877 | 57.4159 | 16.705 | 173.5969 | 56.6299 | 216.4896 | 43.6998 | 374.0975 | 69.5537 | 6535.5215 | 0.90319 | 147.2034 | 81.8812 | Zircon_25July22_MacEachern_Malkowski | 0.20828 | 87.3081 | 6.2598 | 24.02 |  | 98.9598 | 61.8569 | 279.3961 | 446.6569 | 683.4525 | 1000.5278 | 1308.0942 | 1713.7193 | 2200.5736 | 2738.3341 |  | 917.5051 | 76.4628 | 0.37201 | 1092.2108 | 0.12697 | 0.010642 | 2.1936 | 0.024196 | 0.013459 | 1.7978 | 0.095585 | 4.2438 |  |  | LMCM Ash 6 | 1454.3219 | 62.6143 | -2.3542 | 1470.009 | 62.4621 | -2.7938 | 1480.2878 | 62.3626 | -3.0811 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 14096.7083 | 61365.7954 | 0 | -1.2064 | -1.9984
LMCM Ash 23 |  | 413.4255 | 159.7759 | 128.9416 | 0.38647 | 72572.1341 | 11109.8093 | 243.7817 | 0.078673 | 4.6052 | 3.0489 | 4.1509 | 0.24585 | 3.5716 | 0.79795 | 4.0676 | 3.5716 | 0.089946 | 2.1151 | 1530.6957 | 67.8883 | 91.5248 | 1424.3796 | 40.4003 | 48.0438 | 1419.9668 | 31.7381 | 35.5556 | 1417.028 | 45.4344 | 49.7548 | 0.20696 | 3.9004 | 1485.4187 | 48.9134 | 1478.4002 | 47.3788 | 316.5864 | 4.9803 | 1584.4684 | 331350.7815 | 2.8839 |  | 14.3315 | 0.050206 | 0.90123 | 4.151 | 0.14832 | 30.6959 | 10.7415 | 141.4164 | 56.4557 | 257.2286 | 55.0465 | 510.2646 | 97.9903 | 7427.6778 | 1.3269 | 159.7759 | 413.4255 | Zircon_25July22_MacEachern_Malkowski | 0.01324 | 23.4175 | 0.52848 | 1.9298 |  | 27.1308 | 2.5572 | 149.3718 | 287.2048 | 556.7576 | 997.4501 | 1554.2515 | 2158.6861 | 3001.5565 | 3857.8866 |  | 728.6906 | 279.9525 | 0.04017 | 1179.4218 | 0.049765 | 0.013193 | 2.1734 | 0.0069757 | 0.01805 | 0.38647 | 0.10084 | 4.6878 |  |  | LMCM Ash 23 | 1480.8956 | 49.2643 | -1.5821 | 1417.028 | 49.7548 | 0.20696 | 1493.8897 | 49.1651 | -1.9435 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 72572.1341 | 308499.0047 | 0 | 4.8033 | -0.98308
LMCM Ash 19 |  | 417.7927 | 199.7577 | 128.5838 | 0.47813 | 71790.8874 | 2734.8574 | 63.336 | 0.076327 | 4.7036 | 2.937 | 3.292 | 0.23716 | 2.8893 | 0.7793 | 4.2165 | 2.8893 | 0.089817 | 1.5779 | 1486.6827 | 67.4181 | 89.5616 | 1421.6325 | 30.1504 | 39.9017 | 1391.5001 | 24.9363 | 29.5759 | 1371.9273 | 35.7045 | 40.7708 | 1.4066 | 3.1154 | 1433.7549 | 38.1679 | 1429.4924 | 37.8656 | 274.8162 | 11.9291 | 977.7787 | 325190.836 | 5.3895 |  | 28.3607 | 0.031272 | 0.67155 | 2.8044 | 0.29374 | 13.7411 | 5.504 | 76.2058 | 33.5149 | 156.6798 | 37.5041 | 378.4582 | 74.0317 | 8054.5869 | 3.6639 | 199.7577 | 417.7927 | Zircon_25July22_MacEachern_Malkowski | 0.0082469 | 46.3409 | 0.32918 | 1.438 |  | 18.3296 | 5.0645 | 66.8666 | 147.1647 | 300.023 | 592.1359 | 946.7057 | 1470.7509 | 2226.2246 | 2914.633 |  | 814.8076 | 889.4077 | 0.14466 | 807.8012 | 0.030036 | 0.0091912 | 1.471 | 0.0129 | 0.02698 | 0.47813 | 0.2043 | 8.2376 |  |  | LMCM Ash 19 | 1432.8962 | 40.387 | -0.31679 | 1371.9273 | 40.7708 | 1.4066 | 1445.2361 | 40.3098 | -0.66316 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 71790.8874 | 313785.9332 | 0 | 4.723 | -0.96136
LMCM Ash 27 |  | 69.8907 | 25.3361 | 13.1221 | 0.36251 | 7556.7289 | 125.9438 | 3.7703 | 0.045329 | 10.4684 | 1.4682 | 10.1942 | 0.16389 | 4.5656 | 0.42803 | 6.1017 | 4.5656 | 0.064974 | 9.1147 | 896.0427 | 91.7521 | 98.8163 | 773.4766 | 191.7945 | 193.9133 | 917.393 | 61.5731 | 62.7658 | 978.3548 | 41.4436 | 43.5939 | -6.6451 | 8.4641 | 968.4705 | 43.9663 | 964.9392 | 43.9008 | 136.6167 | 13.401 | 647.4289 | 357883.1616 | 2.2881 |  | 4.1394 | 0.044968 | 0.94151 | 3.4552 | 0.38879 | 17.3894 | 5.5453 | 63.684 | 22.7135 | 94.0888 | 18.9914 | 165.1463 | 29.1617 | 6335.556 | 1.0882 | 25.3361 | 69.8907 | Zircon_25July22_MacEachern_Malkowski | 0.011859 | 6.7637 | 0.47334 | 2.0161 |  | 22.5829 | 6.7032 | 84.6199 | 148.2713 | 250.7245 | 401.2995 | 568.5127 | 744.7609 | 971.4491 | 1148.0975 |  | 827.4093 | 90.2779 | 0.15334 | 425.6904 | 0.087107 | 0.0046029 | 2.1026 | 0.032739 | 0.090312 | 0.36251 | 0.039133 | 9.7857 |  |  | LMCM Ash 27 | 961.5958 | 43.7074 | -6.1136 | 978.3548 | 43.5939 | -6.6451 | 979.7888 | 43.5842 | -6.6905 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 7556.7289 | 51377.1837 | 0 | -1.8785 | -2.0394
LMCM Ash 2 |  | 253.1392 | 282.4723 | 33.7587 | 1.1159 | 15760.1776 | 420.2703 | 9.8645 | 0.031928 | 4.0524 | 0.75655 | 9.0865 | 0.093257 | 5.693 | 0.60784 | 10.723 | 5.693 | 0.058838 | 7.082 | 635.2462 | 25.3424 | 35.4518 | 561.0618 | 154.3407 | 157.2889 | 572.0186 | 39.7378 | 40.7345 | 574.7725 | 31.3055 | 32.3782 | -0.48143 | 8.87 | 569.2833 | 32.0471 | 556.6053 | 37.6507 | 447.2975 | 10.526 | 1532.917 | 346511.3105 | 3.3984 | 0.36491 | 56.9399 | 0.38071 | 4.1888 | 5.6763 | 1.8312 | 37.7153 | 12.4987 | 150.9885 | 54.1021 | 238.9978 | 51.232 | 443.3748 | 82.9615 | 7040.7051 | 1.9229 | 282.4723 | 253.1392 | Zircon_25July22_MacEachern_Malkowski | 1.5397 | 93.0391 | 4.0075 | 8.9695 |  | 37.1001 | 31.5716 | 183.5294 | 334.1902 | 594.4429 | 955.8676 | 1444.0952 | 2009.0972 | 2608.0872 | 3266.2009 |  | 801.574 | 37.4551 | 0.38261 | 1141.2525 | 0.070369 | 0.011783 | 1.7673 | 0.013425 | 0.012031 | 1.1159 | 0.18427 | 4.593 |  |  | LMCM Ash 2 | 569.1348 | 32.4065 | -0.28329 | 574.7725 | 32.3782 | -0.48143 | 577.1587 | 32.3662 | -0.5652 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 15760.1776 | 189027.8793 | 0 | -1.0354 | -1.4739
LMCM Ash 5 |  | 183.1504 | 149.2187 | 18.8118 | 0.81473 | 9961.3615 | 968.8025 | 55.1172 | 0.024791 | 4.1601 | 0.58316 | 10.456 | 0.07963 | 3.8888 | 0.34828 | 12.5581 | 3.8888 | 0.053114 | 9.706 | 494.9783 | 20.3413 | 28.1859 | 333.6678 | 220.0342 | 222.2678 | 466.4923 | 39.1076 | 39.8437 | 493.9149 | 18.4898 | 19.8074 | -5.8785 | 9.7209 | 488.4804 | 19.1165 | 485.1193 | 21.1551 | 261.4011 | 12.2081 | 1547.6983 | 341223.2394 | 1.8134 |  | 12.7033 | 0.65056 | 6.4419 | 13.9183 | 3.4259 | 59.5955 | 16.9042 | 182.7588 | 62.2893 | 232.6977 | 47.258 | 426.5168 | 76.6428 | 5826.1141 | 1.1568 | 149.2187 | 183.1504 | Zircon_25July22_MacEachern_Malkowski | 0.17156 | 20.7571 | 6.848 | 13.7942 |  | 90.9694 | 59.0673 | 290.0025 | 451.9851 | 719.5227 | 1100.5184 | 1406.0283 | 1853.2554 | 2508.9224 | 3017.4317 |  | 817.2887 | 19.1503 | 0.36366 | 1141.8031 | 0.11559 | 0.013155 | 1.5676 | 0.0099012 | 0.012153 | 0.81473 | 0.096413 | 3.7644 |  |  | LMCM Ash 5 | 486.2783 | 19.8309 | -5.6046 | 493.9149 | 19.8074 | -5.8785 | 494.1097 | 19.8068 | -5.8854 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 9961.3615 | 140575.1321 | 0 | -1.6314 | -1.673
LMCM Ash 29 |  | 201.1963 | 117.7295 | 18.1402 | 0.58515 | 10215.1004 | 628.613 | 13.4462 | 0.022792 | 10.4836 | 0.55186 | 10.5182 | 0.074056 | 2.9257 | 0.24822 | 13.5033 | 2.9257 | 0.054046 | 10.1031 | 455.4943 | 47.2181 | 50.8606 | 372.9689 | 227.45 | 229.4938 | 446.2142 | 37.9794 | 38.6724 | 460.5464 | 13.0043 | 14.6012 | -3.212 | 9.2557 | 454.6095 | 13.566 | 453.3371 | 14.8832 | 210.8175 | 10.6315 | 470.3521 | 325221.8114 | 1.2334 |  | 18.9311 | 0.047408 | 0.30041 | 0.60189 | 0.35747 | 8.688 | 3.1387 | 37.2476 | 15.2677 | 75.4873 | 17.147 | 165.513 | 34.1524 | 7670.5043 | 0.89533 | 117.7295 | 201.1963 | Zircon_25July22_MacEachern_Malkowski | 0.012502 | 30.9332 | 0.49903 | 0.64327 |  | 3.9339 | 6.1633 | 42.2772 | 83.9214 | 146.6442 | 269.7468 | 456.1163 | 672.4323 | 973.6057 | 1344.5842 |  | 802.6165 | 391.6271 | 0.47791 | 376.8799 | 0.043423 | 0.0044524 | 1.3776 | 0.0061305 | 0.010477 | 0.58515 | 0.2503 | 16.308 |  |  | LMCM Ash 29 | 453.5202 | 14.6172 | -2.9573 | 460.5464 | 14.6012 | -3.212 | 460.6708 | 14.601 | -3.2165 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 10215.1004 | 150133.286 | 0 | -1.6053 | -1.6337
LMCM Ash 20 |  | 351.9856 | 243.491 | 31.8421 | 0.69176 | 17203.2835 | 305.8326 | 5.7495 | 0.023361 | 5.5986 | 0.51221 | 8.9257 | 0.071248 | 4.3425 | 0.46241 | 14.0355 | 4.3425 | 0.05214 | 7.7982 | 466.7494 | 25.8319 | 32.0731 | 291.5663 | 178.1154 | 180.8309 | 419.9312 | 30.6977 | 31.4835 | 443.6695 | 18.6182 | 19.7036 | -5.6529 | 8.9055 | 441.7909 | 19.0814 | 436.8968 | 20.921 | 269.2289 | 9.6752 | 787.9592 | 325619.5077 | 2.7099 |  | 28.5598 | 0.06229 | 1.8898 | 4.2351 | 0.90804 | 20.3932 | 6.1439 | 74.9903 | 26.1614 | 115.2769 | 26.1145 | 232.1649 | 46.2023 | 7718.9705 | 1.3382 | 243.491 | 351.9856 | Zircon_25July22_MacEachern_Malkowski | 0.016427 | 46.6663 | 0.65569 | 4.0467 |  | 27.6805 | 15.6558 | 99.2368 | 164.2755 | 295.2373 | 462.2153 | 696.5374 | 1024.0991 | 1365.6756 | 1818.9867 |  | 792.8393 | 449.6542 | 0.29871 | 583.1023 | 0.072665 | 0.0059855 | 2.025 | 0.0076989 | 0.011129 | 0.69176 | 0.30901 | 9.7962 |  |  | LMCM Ash 20 | 439.8985 | 19.7151 | -5.5159 | 443.6695 | 19.7036 | -5.6529 | 444.7891 | 19.7002 | -5.6936 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 17203.2835 | 267733.0069 | 0 | -0.88709 | -1.1506
LMCM Ash 1 |  | 638.6414 | 436.5413 | 57.1854 | 0.68355 | 30137.7382 | 4018.359 | 90.2435 | 0.023045 | 4.9901 | 0.51429 | 7.1157 | 0.069733 | 5.0195 | 0.67827 | 14.3403 | 5.0195 | 0.053489 | 5.0436 | 460.5102 | 22.7203 | 28.9919 | 349.5641 | 114.0172 | 118.282 | 421.3272 | 24.5384 | 25.5512 | 434.5498 | 21.0934 | 22.046 | -3.1383 | 7.8196 | 437.5339 | 21.4675 | 433.7568 | 23.5573 | 283.4865 | 9.2438 | 1247.6594 | 329431.2722 | 3.8468 |  | 31.0641 | 0.014791 | 1.9559 | 3.4849 | 0.75382 | 27.7367 | 9.1334 | 119.8768 | 42.7886 | 198.1009 | 42.6075 | 394.3131 | 72.5266 | 7692.603 | 1.8508 | 436.5413 | 638.6414 | Zircon_25July22_MacEachern_Malkowski | 0.0039005 | 50.7583 | 0.15569 | 4.1882 |  | 22.7773 | 12.9969 | 134.9717 | 244.209 | 471.9558 | 755.9831 | 1196.9841 | 1670.8821 | 2319.4888 | 2855.3763 |  | 788.1725 | 2059.7538 | 0.23441 | 944.3571 | 0.05819 | 0.0094281 | 2.0784 | 0.0060234 | 0.0088119 | 0.68355 | 0.34989 | 6.1656 |  |  | LMCM Ash 1 | 436.416 | 22.0396 | -3.2064 | 434.5498 | 22.046 | -3.1383 | 437.6644 | 22.0353 | -3.2518 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 30137.7382 | 475770.1048 | 0 | 0.4422 | -0.29587
LMCM Ash 25 |  | 267.9393 | 335.165 | 20.5092 | 1.2509 | 9337.1667 | 298.7878 | 8.6955 | 0.017645 | 7.4519 | 0.39696 | 8.3178 | 0.052517 | 3.5458 | 0.39494 | 19.0414 | 3.5458 | 0.05482 | 7.5242 | 353.5277 | 26.1154 | 29.9354 | 404.9222 | 168.4402 | 171.1689 | 339.4398 | 23.9994 | 24.6962 | 329.9571 | 11.4053 | 12.3742 | 2.7936 | 7.6501 | 323.8281 | 11.6107 | 318.0249 | 15.2264 | 443.0698 | 16.7901 | 2011.9608 | 348083.7085 | 6.9606 |  | 36.4488 | 0.25204 | 3.5818 | 8.7744 | 2.7945 | 49.9857 | 17.0831 | 192.8697 | 69.1258 | 325.9372 | 71.0142 | 624.4551 | 115.5114 | 5643.441 | 2.283 | 335.165 | 267.9393 | Zircon_25July22_MacEachern_Malkowski | 0.066467 | 59.5568 | 2.6531 | 7.6699 |  | 57.349 | 48.1816 | 243.2396 | 456.7675 | 759.3295 | 1221.3032 | 1969.4092 | 2784.8687 | 3673.2655 | 4547.6935 |  | 852.6779 | 141.8251 | 0.40794 | 1517.8338 | 0.066219 | 0.020468 | 3.0489 | 0.025978 | 0.020768 | 1.2509 | 0.16659 | 2.8049 |  |  | LMCM Ash 25 | 324.5921 | 12.3845 | 2.9962 | 329.9571 | 12.3742 | 2.7936 | 329.1249 | 12.3758 | 2.825 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 9337.1667 | 199133.4453 | 0 | -1.6955 | -1.4324
LMCM Ash 13 | E | 521.401 | 267.5939 | 19.1525 | 0.51322 | 10536.5133 | 824.2986 | 38.5175 | 0.010147 | 5.8418 | 0.21473 | 7.3058 | 0.030463 | 3.6864 | 0.46954 | 32.8263 | 3.6864 | 0.051122 | 6.3076 | 204.0623 | 11.8609 | 14.4562 | 246.3447 | 145.249 | 148.6548 | 197.5134 | 13.1132 | 13.61 | 193.4477 | 7.0253 | 7.5805 | 2.0585 | 7.4117 | 190.2084 | 7.0948 | 189.36 | 7.6836 | 233.1519 | 4.3778 | 1005.6534 | 356738.429 | 3.9492 |  | 31.5251 | 0.040232 | 1.5086 | 0.92879 | 0.91414 | 15.2892 | 5.6977 | 66.0298 | 31.1124 | 162.51 | 40.6326 | 451.8251 | 105.8756 | 7287.1695 | 1.411 | 267.5939 | 521.401 | Zircon_25July22_MacEachern_Malkowski | 0.01061 | 51.5116 | 0.42349 | 3.2305 |  | 6.0706 | 15.761 | 74.4 | 152.3444 | 259.9598 | 549.6884 | 981.9336 | 1593.434 | 2657.7945 | 4168.3319 |  | 717.1213 | 768.4812 | 0.74162 | 913.8892 | 0.027993 | 0.014529 | 2.7989 | 0.0075741 | 0.014758 | 0.51322 | 0.26609 | 7.2462 |  |  | LMCM Ash 13 | 190.4971 | 7.584 | 2.1744 | 193.4477 | 7.5805 | 2.0585 | 191.7415 | 7.5825 | 2.1255 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 10536.5133 | 386404.3027 | 0 | -1.5722 | -0.66302
LMCM Ash 14 | E | 597.7944 | 362.8639 | 22.3925 | 0.607 | 12004.096 | 557.4916 | 9.2616 | 0.010368 | 10.0239 | 0.21918 | 8.7314 | 0.030018 | 4.2724 | 0.46405 | 33.3131 | 4.2724 | 0.052955 | 7.6148 | 208.4852 | 20.7909 | 22.4456 | 326.8754 | 172.8352 | 175.6215 | 201.2253 | 15.9384 | 16.3639 | 190.6625 | 8.0266 | 8.5047 | 5.2492 | 8.4991 | 187.303 | 8.0943 | 185.9682 | 9.0867 | 156.3793 | 5.3079 | 1116.4945 | 335436.6347 | 5.6563 | 0.019107 | 40.1789 | 0.066591 | 1.0725 | 2.5397 | 1.1852 | 17.0887 | 6.223 | 79.7159 | 35.2291 | 182.366 | 45.5287 | 486.8243 | 111.3213 | 7149.9911 | 1.9885 | 362.8639 | 597.7944 | Zircon_25July22_MacEachern_Malkowski | 0.080619 | 65.6519 | 0.70096 | 2.2966 |  | 16.5995 | 20.4341 | 83.1569 | 166.3911 | 313.842 | 622.4229 | 1101.9092 | 1785.4405 | 2863.6726 | 4382.7295 |  | 734.5078 | 276.1739 | 0.55 | 1009.3592 | 0.029039 | 0.015569 | 2.8446 | 0.009462 | 0.015588 | 0.607 | 0.325 | 6.404 |  |  | LMCM Ash 14 | 188.029 | 8.5082 | 5.3532 | 190.6625 | 8.5047 | 5.2492 | 188.8106 | 8.5072 | 5.3223 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 12004.096 | 445118.6078 | 0 | -1.4214 | -0.4218
[29 empty] | 192.2379 | 5.9927 | Weighted mean date based on dates shown in bold. Error includes the standard calibration uncertainty. MSWD = 0.3, probability of fit = 0.60
[90 empty] | hf/th | th/nb
LMCM Ash 11 | z2 | 449.8143 | 349.1681 | 11.6144 | 0.77625 | 6011.0713 | 1202.1681 | 39.5798 | 0.0067317 | 6.9325 | 0.13558 | 9.5363 | 0.020031 | 4.6293 | 0.46398 | 49.922 | 4.6293 | 0.049089 | 8.3374 | 135.6053 | 9.3693 | 10.8546 | 152.1026 | 195.3238 | 197.9668 | 129.0992 | 11.5608 | 11.819 | 127.8533 | 5.8604 | 6.1555 | 0.9651 | 9.9628 | 125.2379 | 5.9125 | 123.9489 | 6.7664 | 267.8954 | 14.0128 | 977.8003 | 352569.9355 | 2.2673 |  | 29.2501 | 0.122 | 1.5699 | 3.9145 | 0.98992 | 14.8182 | 5.1215 | 70.7363 | 28.355 | 153.2098 | 34.6921 | 375.7492 | 80.7662 | 5715.9748 | 1.0789 | 349.1681 | 449.8143 | Zircon_25July22_MacEachern_Malkowski | 0.032173 | 47.7943 | 1.2842 | 3.3617 |  | 25.5849 | 17.0677 | 72.108 | 136.9395 | 278.4892 | 500.971 | 925.7389 | 1360.473 | 2210.2894 | 3179.7729 |  | 832.3222 | 235.1341 | 0.39737 | 799.2947 | 0.032624 | 0.01413 | 2.1016 | 0.0050405 | 0.0064934 | 0.77625 | 0.3571 | 5.8457 | 16.3703 | 154.0016 | LMCM Ash 11 | 125.3252 | 6.1579 | 1.0662 | 127.8533 | 6.1555 | 0.9651 | 126.3989 | 6.1569 | 1.0233 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6011.0713 | 337198.9036 | 0 | -2.0373 | -0.86517
LMCM Ash 12 | z2 | 458.3514 | 373.8133 | 11.7516 | 0.81556 | 6232.4361 | 262.4156 | 5.4549 | 0.006558 | 9.8237 | 0.12782 | 12.3408 | 0.019772 | 4.5471 | 0.35162 | 50.5766 | 4.5471 | 0.046887 | 11.4725 | 132.1189 | 12.9367 | 13.9994 | 43.5311 | 274.2633 | 276.2262 | 122.1387 | 14.2016 | 14.3917 | 126.2148 | 5.6834 | 5.9799 | -3.3373 | 12.885 | 123.9959 | 5.7755 | 122.5601 | 6.7459 | 185.0138 | 13.3171 | 773.6372 | 315744.057 | 2.1174 |  | 28.0474 | 0.11427 | 1.6564 | 1.1599 | 1.0611 | 11.6243 | 4.5792 | 56.3764 | 25.0557 | 129.8321 | 30.5451 | 310.1703 | 68.3244 | 5391.1122 | 0.82767 | 373.8133 | 458.3514 | Zircon_25July22_MacEachern_Malkowski | 0.030134 | 45.8291 | 1.2028 | 3.5468 |  | 7.5813 | 18.2946 | 56.5658 | 122.4381 | 221.9545 | 442.6805 | 784.4839 | 1197.8479 | 1824.5311 | 2689.9369 |  | 826.7212 | 240.7209 | 0.88343 | 668.5465 | 0.031003 | 0.012674 | 2.5582 | 0.0046196 | 0.0056643 | 0.81556 | 0.48319 | 6.9685 | 14.4219 | 176.5452 | LMCM Ash 12 | 123.746 | 5.9821 | -3.2391 | 126.2148 | 5.9799 | -3.3373 | 124.7239 | 5.9812 | -3.278 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 6232.4361 | 353585.6576 | 0 | -2.0146 | -0.79785
[29 empty] | 127.0239 | 4.5315 | Weighted mean date based on dates shown in bold. Error includes the standard calibration uncertainty. MSWD = 0.2, probability of fit = 0.69
LMCM Ash 32 | z3 | 217.5819 | 133.3353 | 5.5909 | 0.6128 | 2942.5927 | 325.7928 | 4.332 | 0.0074135 | 13.8581 | 0.15181 | 12.3821 | 0.020549 | 5.2361 | 0.40874 | 48.6637 | 5.2361 | 0.05358 | 11.2205 | 149.2891 | 20.6124 | 21.5523 | 353.4621 | 253.4748 | 255.3133 | 143.5087 | 16.5708 | 16.7874 | 131.1259 | 6.7965 | 7.0639 | 8.6286 | 11.5648 | 127.3418 | 6.848 | 125.9682 | 7.7951 | 234.7931 | 10.9427 | 528.8232 | 326995.1619 | 1.2721 | 0.053056 | 17.1773 | 0.097445 | 1.13 | 2.4544 | 0.97057 | 9.0018 | 3.138 | 39.119 | 16.6103 | 78.2745 | 20.4676 | 211.4818 | 47.4936 | 5666.7946 | 0.53175 | 133.3353 | 217.5819 | Zircon_25July22_MacEachern_Malkowski | 0.22387 | 28.0675 | 1.0257 | 2.4197 |  | 16.0417 | 16.734 | 43.8046 | 83.9027 | 154.0117 | 293.4687 | 472.9574 | 802.6504 | 1244.0105 | 1869.828 |  | 805.6448 | 58.5723 | 0.63127 | 447.4693 | 0.035212 | 0.008381 | 2.3922 | 0.0058464 | 0.0095403 | 0.6128 | 0.25214 | 10.7159 | 42.5003 | 104.8182 | LMCM Ash 32 | 128.1416 | 7.0672 | 8.7492 | 131.1259 | 7.0639 | 8.6286 | 130.1529 | 7.065 | 8.6679 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 2942.5927 | 161863.5022 | 0 | -2.3527 | -1.5855
LMCM Ash 31 | z3 | 270.2307 | 159.6356 | 6.3969 | 0.59074 | 3533.4051 | 100.9526 | 2.3526 | 0.0061384 | 15.248 | 0.12101 | 14.391 | 0.019628 | 5.3045 | 0.35658 | 50.9489 | 5.3045 | 0.044716 | 13.3778 | 123.6902 | 18.8027 | 19.5123 | -71.0905 | 326.8746 | 328.5452 | 115.9889 | 15.7739 | 15.9269 | 125.3014 | 6.5824 | 6.8352 | -8.0288 | 15.7494 | 123.0969 | 6.7 | 122.4049 | 7.4698 | 195.6097 | 10.9624 | 626.1618 | 331558.5896 | 0.85084 |  | 17.3365 | 0.073966 | 2.2158 | 1.7443 | 0.8078 | 9.924 | 3.8565 | 43.5495 | 17.9979 | 96.6076 | 23.8916 | 248.4456 | 54.0744 | 5690.9151 | 0.69337 | 159.6356 | 270.2307 | Zircon_25July22_MacEachern_Malkowski | 0.019506 | 28.3277 | 0.77859 | 4.7448 |  | 11.4004 | 13.9276 | 48.292 | 103.1141 | 171.4549 | 317.9835 | 583.7315 | 936.9254 | 1461.4449 | 2128.9129 |  | 805.8345 | 229.8663 | 0.59358 | 520.5255 | 0.033044 | 0.0095019 | 1.2271 | 0.0031486 | 0.0053299 | 0.59074 | 0.25494 | 9.0886 | 35.6494 | 187.621 | LMCM Ash 31 | 122.5204 | 6.8381 | -7.919 | 125.3014 | 6.8352 | -8.0288 | 124.2479 | 6.8363 | -7.9872 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 3533.4051 | 201280.6291 | 0 | -2.292 | -1.4236
[29 empty] | 128.0983 | 5.1168 | Weighted mean date based on dates shown in bold. Error includes the standard calibration uncertainty. MSWD = 1.5, probability of fit = 0.22
LMCM Ash 9 | z4 | 377.3858 | 362.3889 | 10.156 | 0.96026 | 4921.2003 | 93.7361 | 5.7054 | 0.0067372 | 7.7181 | 0.14007 | 10.0847 | 0.019865 | 3.4128 | 0.3107 | 50.3388 | 3.4128 | 0.05114 | 9.4897 | 135.7176 | 10.4397 | 11.7731 | 247.1447 | 218.4938 | 220.7956 | 133.1097 | 12.5811 | 12.8332 | 126.8051 | 4.2853 | 4.674 | 4.7364 | 9.5623 | 123.7537 | 4.3525 | 122.1856 | 5.3311 | 614.9005 | 12.5031 | 7127.2079 | 348623.1659 | 3.2996 | 0.045678 | 58.3197 | 1.0297 | 16.9427 | 34.8826 | 12.6209 | 165.4576 | 49.5462 | 599.8325 | 212.0892 | 861.3251 | 190.6249 | 1592.9602 | 328.5681 | 5892.034 | 1.129 | 362.3889 | 377.3858 | Zircon_25July22_MacEachern_Malkowski | 0.19273 | 95.2936 | 10.8393 | 36.2799 |  | 227.9908 | 217.6013 | 805.1466 | 1324.766 | 2361.5452 | 3747.1589 | 5204.3816 | 7475.4864 | 9370.3542 | 12935.7512 |  | 819.8627 | 65.9302 | 0.50788 | 4124.2452 | 0.085925 | 0.055765 | 2.9226 | 0.0087433 | 0.0091051 | 0.96026 | 0.050846 | 0.8267 | 16.2589 | 109.828 | LMCM Ash 9 | 124.1625 | 4.6759 | 4.8427 | 126.8051 | 4.674 | 4.7364 | 125.5278 | 4.6749 | 4.7878 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4921.2003 | 277525.7035 | 0 | -2.1493 | -1.1103
LMCM Ash 8 | z4 | 410.9119 | 417.0073 | 10.8079 | 1.0148 | 5394.8186 | 287.7142 | 11.6001 | 0.0062244 | 5.9771 | 0.12427 | 13.1785 | 0.019504 | 5.2238 | 0.38251 | 51.2714 | 5.2238 | 0.046211 | 12.0989 | 125.4186 | 7.4732 | 9.003 | 8.6579 | 291.156 | 293.0504 | 118.937 | 14.7909 | 14.9654 | 124.5209 | 6.4423 | 6.6982 | -4.6948 | 14.1016 | 122.327 | 6.5392 | 121.3557 | 7.7435 | 685.6446 | 13.5939 | 8035.09 | 342247.8593 | 3.6937 | 0.05831 | 67.819 | 1.0775 | 17.752 | 37.6286 | 13.6079 | 186.2428 | 57 | 607.7595 | 234.1773 | 956.6472 | 201.8069 | 1797.1378 | 348.7029 | 5571.9309 | 1.3231 | 417.0073 | 410.9119 | Zircon_25July22_MacEachern_Malkowski | 0.24603 | 110.8154 | 11.3416 | 38.0129 |  | 245.9389 | 234.6193 | 906.2909 | 1524.064 | 2392.7538 | 4137.4074 | 5780.3455 | 7913.9961 | 10571.3988 | 13728.4619 |  | 828.977 | 66.3388 | 0.49695 | 4527.4177 | 0.08573 | 0.062582 | 2.7917 | 0.0089891 | 0.0088577 | 1.0148 | 0.051898 | 0.69345 | 13.3617 | 112.8959 | LMCM Ash 8 | 121.983 | 6.7009 | -4.594 | 124.5209 | 6.6982 | -4.6948 | 123.1437 | 6.6997 | -4.6401 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 5394.8186 | 313963.8353 | 0 | -2.1007 | -0.96063
[29 empty] | 126.0757 | 4.0167 | Weighted mean date based on dates shown in bold. Error includes the standard calibration uncertainty. MSWD = 0.4, probability of fit = 0.55
LMCM Ash 18 | z1 | 994.7273 | 347.1364 | 22.925 | 0.34898 | 13028.1314 | 13028.1314 | 282.0584 | 0.0072593 | 11.4571 | 0.13826 | 9.9196 | 0.01978 | 3.8703 | 0.36577 | 50.5553 | 3.8703 | 0.050696 | 9.1334 | 146.1969 | 16.6895 | 17.7292 | 227.0064 | 211.0634 | 213.4203 | 131.497 | 12.2347 | 12.488 | 126.2675 | 4.8394 | 5.1892 | 3.9769 | 9.6624 | 124.3033 | 4.8966 | 123.4343 | 5.1982 | 176.843 | 4.8121 | 1091.9571 | 337567.6999 | 4.5318 |  | 37.3951 | 0.078894 | 1.4385 | 1.7668 | 1.2613 | 16.9583 | 7.0783 | 83.4798 | 37.1452 | 180.1753 | 40.844 | 421.7641 | 86.7444 | 7364.8421 | 2.1972 | 347.1364 | 994.7273 | Zircon_25July22_MacEachern_Malkowski | 0.020805 | 61.1031 | 0.83047 | 3.0803 |  | 11.5477 | 21.7464 | 82.5221 | 189.2603 | 328.6606 | 656.2751 | 1088.6723 | 1601.7245 | 2480.9656 | 3415.134 |  | 725.5821 | 464.8501 | 0.70446 | 916.1299 | 0.033262 | 0.011778 | 2.0626 | 0.0045558 | 0.013055 | 0.34898 | 0.3179 | 6.7446 | 21.216 | 76.6 | LMCM Ash 18 | 124.6429 | 5.1905 | 4.0422 | 126.2675 | 5.1892 | 3.9769 | 123.6867 | 5.1913 | 4.0807 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 13028.1314 | 736313.6378 | 0 | -1.3162 | 0.77455
LMCM Ash 17 |  | 566.2254 | 540.7231 | 14.5232 | 0.95496 | 7268.0624 | 1938.3337 | 28.093 | 0.0065048 | 6.9915 | 0.11979 | 12.3051 | 0.018939 | 4.7045 | 0.36611 | 52.7999 | 4.7045 | 0.045874 | 11.3703 | 131.0492 | 9.1327 | 10.5869 | -8.9964 | 274.5403 | 276.5251 | 114.8844 | 13.3662 | 13.5457 | 120.9496 | 5.637 | 5.9127 | -5.2795 | 13.195 | 119.0807 | 5.7267 | 116.6056 | 6.7816 | 267.6574 | 16.9028 | 1228.3996 | 322446.1167 | 2.4993 |  | 35.3022 | 0.13968 | 1.998 | 4.5637 | 1.5375 | 21.4767 | 7.0411 | 94.0462 | 37.9447 | 189.6761 | 44.5288 | 404.0955 | 89.1549 | 5190.5986 | 1.0563 | 540.7231 | 566.2254 | Zircon_25July22_MacEachern_Malkowski | 0.036835 | 57.6834 | 1.4703 | 4.2784 |  | 29.8284 | 26.5093 | 104.5093 | 188.2635 | 370.2608 | 670.4006 | 1146.0792 | 1746.2283 | 2377.0323 | 3510.0352 |  | 853.4452 | 247.867 | 0.47479 | 931.5052 | 0.043966 | 0.017176 | 2.366 | 0.0044139 | 0.0046221 | 0.95496 | 0.44018 | 4.2255 |  |  | LMCM Ash 17 | 118.7057 | 5.9148 | -5.1904 | 120.9496 | 5.9127 | -5.2795 | 119.2806 | 5.9142 | -5.2132 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 7268.0624 | 428808.0305 | 0 | -1.9081 | -0.48881
LMCM Ash 33 | z6 | 350.8 | 262.7502 | 8.3795 | 0.749 | 4015.7523 | 642.4734 | 18.0973 | 0.0059904 | 12.728 | 0.16538 | 12.1211 | 0.018635 | 6.337 | 0.51088 | 53.6612 | 6.337 | 0.064362 | 10.3326 | 120.7184 | 15.3192 | 16.1454 | 753.5613 | 218.1216 | 219.9853 | 155.3979 | 17.4653 | 17.7037 | 119.0261 | 7.4734 | 7.6759 | 23.4056 | 9.8608 | 114.1037 | 7.413 | 115.8881 | 8.6669 | 215.9876 | 12.6886 | 524.4181 | 334744.4756 | 1.1081 |  | 24.8163 | 0.02714 | 1.218 | 2.4234 | 0.55212 | 13.5192 | 3.1972 | 39.061 | 15.8655 | 80.6004 | 18.2599 | 186.1805 | 38.3686 | 5799.2503 | 0.48265 | 262.7502 | 350.8 | Zircon_25July22_MacEachern_Malkowski | 0.0071571 | 40.5495 | 0.28568 | 2.608 |  | 15.8393 | 9.5193 | 65.7867 | 85.4876 | 153.7835 | 280.3095 | 487.0118 | 716.0752 | 1095.1792 | 1510.5767 |  | 821.4567 | 896.7648 | 0.29489 | 424.0893 | 0.060069 | 0.0066161 | 2.296 | 0.0031589 | 0.0042174 | 0.749 | 0.50103 | 11.0584 | 22.0713 | 237.1109 | LMCM Ash 33 | 116.439 | 7.679 | 23.5125 | 119.0261 | 7.6759 | 23.4056 | 117.888 | 7.6772 | 23.4526 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 4015.7523 | 242120.0862 | 0 | -2.2424 | -1.2558
LMCM Ash 28 | z7 | 1042.0131 | 1911.9029 | 30.6332 | 1.8348 | 13338.3755 | 355.6868 | 15.2966 | 0.005605 | 5.645 | 0.12538 | 9.5557 | 0.01845 | 2.9544 | 0.27652 | 54.2006 | 2.9544 | 0.049289 | 9.0875 | 112.9732 | 6.3596 | 7.9209 | 161.604 | 212.5245 | 214.8843 | 119.942 | 10.8103 | 11.0497 | 117.8524 | 3.4502 | 3.8687 | 1.7422 | 9.3114 | 116.2345 | 3.5184 | 117.6881 | 5.3848 | 412.4799 | 9.3495 | 3631.222 | 331903.1002 | 4.4187 | 0.21653 | 110.003 | 1.1322 | 18.2865 | 26.4914 | 9.6295 | 115.7863 | 31.5184 | 332.3226 | 114.2706 | 466.9632 | 95.0126 | 835.1424 | 158.407 | 5731.9958 | 1.3554 | 1911.9029 | 1042.0131 | Zircon_25July22_MacEachern_Malkowski | 0.91362 | 179.7434 | 11.9177 | 39.1575 |  | 173.1462 | 166.0265 | 563.4369 | 842.7372 | 1308.3566 | 2018.9153 | 2821.5301 | 3725.9826 | 4912.6022 | 6236.4942 |  | 789.3321 | 54.4722 | 0.53156 | 2315.182 | 0.11469 | 0.027636 | 3.26 | 0.0042406 | 0.0023112 | 1.8348 | 0.52652 | 1.5785 | 2.9981 | 432.6809 | LMCM Ash 28 | 116.3715 | 3.8695 | 1.8017 | 117.8524 | 3.8687 | 1.7422 | 115.1563 | 3.8703 | 1.8505 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 13338.3755 | 804228.7938 | 0 | -1.2843 | 1.0536

## Table S3 Standard data
Table S3: U-Pb isotope ratios and trace element concentrations by LA-ICPMS: standard data
|  |  |  | Composition | [7 empty] | Corrected isotope ratios | [12 empty] | Dates (Ma) | [16 empty] | Concentrations (ppm)
| U | Th | Pb |  | 206Pb | 206Pb |  | 208Pb | ±2s | 207Pb | ±2s | 206Pb | ±2s | error | 238U | ±2s | 207Pb | ±2s | 208Pb | ±2s | ±2s-sys | 207Pb | ±2s | ±2s-sys | 207Pb | ±2s | ±2s-sys | 206Pb | ±2s | ±2s-sys | disc. | ±2s
Analysis | ppm | ppm | ppm | Th/U | cps | 204Pb | ±1s | 232Th | (%) | 235U | (%) | 238U | (%) | corr. | 206Pb | (%) | 206Pb | (%) | 232Th | (Ma) | (Ma) | 206Pb | (Ma) | (Ma) | 235U | (Ma) | (Ma) | 238U | (Ma) | (Ma) | (%) | (%) | P | Ti | Y | Nb | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | Th | U | Experiment
Primary standards
PL 83 | 816.7557 | 84.4394 | 49.0174 | 0.10338 | 28223.6409 | 45471386.6055 | 635331.8072 | 0.018365 | 13.1625 | 0.39547 | 6.9467 | 0.055105 | 3.7291 | 0.49868 | 18.1471 | 3.7291 | 0.052049 | 5.8609 | 367.8269 | 47.9773 | 50.0197 | 287.5519 | 133.9651 | 137.7639 | 338.3543 | 19.9892 | 20.8601 | 345.7894 | 12.5551 | 13.5623 | -2.1974 | 7.0867 | 542.6269 | 89.6086 | 701.7231 | 4.4413 |  | 2.2884 | 0.16917 | 1.1138 | 5.7426 | 1.162 | 18.4736 | 6.8748 | 80.2583 | 21.672 | 71.4124 | 13.067 | 92.9534 | 11.9934 | 7835.2177 | 3.056 | 84.4394 | 816.7557 | Zircon_25July22_MacEachern_Malkowski
PL 84 | 557.0608 | 53.7275 | 32.2755 | 0.096448 | 19246.0263 | 1164.1499 | 21.3366 | 0.017078 | 6.5954 | 0.41447 | 6.272 | 0.053667 | 4.2839 | 0.64635 | 18.6334 | 4.2839 | 0.056013 | 4.581 | 342.2643 | 22.3837 | 25.9885 | 452.8835 | 101.7007 | 106.3689 | 352.0894 | 18.6609 | 19.6428 | 336.9955 | 14.0657 | 14.9131 | 4.2869 | 6.457 | 278.3152 | 74.9246 | 447.7683 | 4.4389 |  | 1.772 | 0.18302 | 0.99919 | 2.2236 | 0.67754 | 12.7715 | 4.2215 | 46.2009 | 12.8145 | 49.6753 | 8.0268 | 63.2155 | 8.1004 | 8082.0249 | 2.1748 | 53.7275 | 557.0608 | Zircon_25July22_MacEachern_Malkowski
PL 85 | 729.2452 | 73.8494 | 42.2959 | 0.10127 | 25132.2992 | 25132.2992 | 845.7629 | 0.016681 | 7.2261 | 0.38533 | 5.8095 | 0.053556 | 2.8597 | 0.43309 | 18.672 | 2.8597 | 0.052182 | 5.0569 | 334.3723 | 23.9633 | 27.2313 | 293.4165 | 115.4647 | 119.8207 | 330.9528 | 16.4077 | 17.415 | 336.3182 | 9.3712 | 10.6101 | -1.6212 | 5.7793 | 399.7865 | 82.6791 | 583.4267 | 4.9834 | 0.01465 | 2.1084 | 0.18729 | 2.0738 | 4.4752 | 1.2065 | 17.9372 | 5.5512 | 60.4277 | 18.1296 | 63.4542 | 11.015 | 72.8253 | 10.6426 | 7977.4989 | 2.9886 | 73.8494 | 729.2452 | Zircon_25July22_MacEachern_Malkowski
PL 86 | 742.57 | 75.2764 | 43.4019 | 0.10137 | 25851.9452 | 861.7322 | 11.0128 | 0.013654 | 18.5135 | 0.40645 | 6.1944 | 0.054115 | 3.8177 | 0.57484 | 18.4791 | 3.8177 | 0.054473 | 4.8781 | 274.1129 | 50.4053 | 51.517 | 390.6581 | 109.4783 | 113.9002 | 346.3125 | 18.1764 | 19.1609 | 339.7376 | 12.6341 | 13.5979 | 1.8985 | 6.3104 | 413.702 | 82.5961 | 609.4708 | 5.4728 |  | 2.4625 | 0.070936 | 1.8918 | 3.7642 | 1.0291 | 15.5014 | 5.7518 | 61.8644 | 17.9487 | 60.0142 | 10.4293 | 76.2965 | 11.0363 | 7999.5363 | 3.3707 | 75.2764 | 742.57 | Zircon_25July22_MacEachern_Malkowski
PL 87 | 676.9848 | 65.8113 | 38.3392 | 0.097212 | 21913.0829 | 21913.0829 | 346.3707 | 0.017748 | 9.7737 | 0.37454 | 7.4383 | 0.052412 | 4.2291 | 0.53829 | 19.0797 | 4.2291 | 0.051829 | 6.1191 | 355.581 | 34.4495 | 37.2653 | 277.8614 | 140.1103 | 143.6283 | 323.0157 | 20.5802 | 21.3452 | 329.3119 | 13.5771 | 14.4187 | -1.9492 | 7.7368 | 354.242 | 82.4225 | 540.2466 | 4.5302 |  | 2.1042 | 0.038647 | 2.0324 | 2.7969 | 0.819 | 13.8591 | 5.0315 | 51.8946 | 16.1351 | 61.3753 | 10.088 | 72.8097 | 9.3822 | 8204.574 | 2.8669 | 65.8113 | 676.9848 | Zircon_25July22_MacEachern_Malkowski
PL 88 | 661.3135 | 63.3086 | 38.2358 | 0.095732 | 21522.2068 | 956.5368 | 36.536 | 0.018726 | 11.8761 | 0.39 | 7.5591 | 0.053445 | 3.1323 | 0.37424 | 18.7108 | 3.1323 | 0.052924 | 6.8796 | 374.9977 | 44.1247 | 46.6074 | 325.5671 | 156.1819 | 159.2868 | 334.3667 | 21.5352 | 22.3098 | 335.6381 | 10.2443 | 11.3743 | -0.38025 | 7.1543 | 351.9069 | 80.5772 | 505.9736 | 3.9454 |  | 1.9282 | 0.14977 | 1.1227 | 3.3117 | 0.68902 | 13.0511 | 5.5711 | 58.9683 | 16.236 | 54.3665 | 9.3976 | 64.4852 | 9.3447 | 8074.5309 | 3.3748 | 63.3086 | 661.3135 | Zircon_25July22_MacEachern_Malkowski
PL 89 | 642.9935 | 61.0485 | 36.8885 | 0.094944 | 20123.0869 | 1057.3047 | 6.4227 | 0.017771 | 13.831 | 0.38294 | 7.5391 | 0.053232 | 4.6187 | 0.58584 | 18.7856 | 4.6187 | 0.052174 | 5.9586 | 356.0392 | 48.8126 | 50.939 | 293.0517 | 136.0647 | 139.5942 | 329.2002 | 21.1972 | 21.956 | 334.3348 | 15.0484 | 15.8309 | -1.5597 | 7.9787 | 358.812 | 77.7158 | 492.6628 | 4.1241 |  | 1.6417 | 0.0034905 | 1.2083 | 2.9311 | 0.93814 | 10.9669 | 4.8297 | 51.6605 | 15.934 | 52.0061 | 8.8127 | 61.6515 | 8.7945 | 7975.2081 | 2.9353 | 61.0485 | 642.9935 | Zircon_25July22_MacEachern_Malkowski
PL 90 | 752.5385 | 75.543 | 43.8329 | 0.10038 | 23575.8039 | 1450.793 | 37.3291 | 0.016296 | 11.9923 | 0.38655 | 5.6694 | 0.053939 | 4.3889 | 0.7367 | 18.5395 | 4.3889 | 0.051977 | 3.5888 | 326.72 | 38.8664 | 41.1101 | 284.3814 | 82.0762 | 87.8135 | 331.8494 | 16.0487 | 17.0547 | 338.6581 | 14.4798 | 15.3172 | -2.0518 | 6.5876 | 384.5514 | 89.6385 | 615.4117 | 4.9581 |  | 2.1468 | 0.14846 | 2.3175 | 3.411 | 0.7899 | 18.0462 | 6.268 | 71.6677 | 18.0913 | 64.5235 | 11.8244 | 80.3908 | 10.1316 | 8360.4615 | 3.309 | 75.543 | 752.5385 | Zircon_25July22_MacEachern_Malkowski
PL 92 | 687.2064 | 68.4104 | 40.1993 | 0.099549 | 22465.1665 | 382.3824 | 12.7372 | 0.018141 | 11.4847 | 0.41061 | 6.4686 | 0.053909 | 4.2166 | 0.61812 | 18.5498 | 4.2166 | 0.055242 | 4.9055 | 363.3892 | 41.3614 | 44.0482 | 422.0023 | 109.4915 | 113.6 | 349.3147 | 19.119 | 20.0398 | 338.476 | 13.9038 | 14.7714 | 3.1028 | 6.631 | 431.3029 | 81.3373 | 548.7717 | 4.2822 |  | 2.0939 | 0.14101 | 1.7419 | 2.7639 | 0.59797 | 14.3949 | 5.3441 | 54.4447 | 16.2622 | 53.9776 | 11.1058 | 66.652 | 9.1549 | 8081.4458 | 2.811 | 68.4104 | 687.2064 | Zircon_25July22_MacEachern_Malkowski
PL 93 | 896.028 | 98.0667 | 52.2744 | 0.10945 | 31524.298 | 12610.0607 | 338.2077 | 0.015644 | 10.5871 | 0.4019 | 6.6514 | 0.053382 | 4.4051 | 0.63109 | 18.7329 | 4.4051 | 0.054603 | 4.9836 | 313.7523 | 32.9608 | 35.5311 | 396.0131 | 111.7403 | 115.7792 | 343.0225 | 19.3616 | 20.2519 | 335.2517 | 14.3907 | 15.2318 | 2.2654 | 6.9305 | 555.4911 | 101.0339 | 776.3476 | 5.7107 |  | 2.5246 | 0.2284 | 2.4783 | 3.6947 | 1.3626 | 19.0912 | 7.732 | 83.6607 | 24.1681 | 84.7024 | 15.1903 | 109.5944 | 14.3997 | 7832.8218 | 2.8157 | 98.0667 | 896.028 | Zircon_25July22_MacEachern_Malkowski
PL 94 | 831.692 | 90.2306 | 49.3266 | 0.10849 | 30618.3468 | 1020.5997 | 19.7051 | 0.01716 | 12.0686 | 0.38362 | 6.4642 | 0.054382 | 3.5318 | 0.50633 | 18.3883 | 3.5318 | 0.051161 | 5.4141 | 343.9078 | 41.1536 | 43.6471 | 248.1144 | 124.6323 | 128.459 | 329.6954 | 18.1981 | 19.0821 | 341.3705 | 11.7428 | 12.7928 | -3.5412 | 6.7341 | 517.5121 | 97.5515 | 758.3862 | 5.1835 |  | 2.7991 | 0.21953 | 1.6568 | 4.1048 | 1.4849 | 18.9794 | 8.557 | 83.4877 | 24.8792 | 82.5066 | 14.5279 | 101.1228 | 14.7099 | 7690.8335 | 3.1546 | 90.2306 | 831.692 | Zircon_25July22_MacEachern_Malkowski
PL 95 | 918.039 | 94.5524 | 53.0398 | 0.10299 | 30783.1093 | 909250994.4201 | 24358788.6381 | 0.01702 | 9.9641 | 0.39317 | 7.1369 | 0.052886 | 4.6659 | 0.62628 | 18.9087 | 4.6659 | 0.053919 | 5.4004 | 341.1064 | 33.7031 | 36.6855 | 367.6888 | 121.6905 | 125.453 | 336.6843 | 20.4512 | 21.2714 | 332.2142 | 15.1082 | 15.8983 | 1.3277 | 7.4873 | 573.0972 | 101.7782 | 798.9124 | 5.7894 |  | 3.0444 | 0.18754 | 2.9062 | 6.7822 | 1.4547 | 22.9559 | 7.6855 | 83.714 | 23.5823 | 89.8699 | 13.5646 | 107.2719 | 14.034 | 8208.5627 | 3.2167 | 94.5524 | 918.039 | Zircon_25July22_MacEachern_Malkowski
PL 96 | 872.7136 | 93.1263 | 50.8749 | 0.10671 | 31199.9012 | 2705.3958 | 46.7207 | 0.015686 | 11.8527 | 0.3974 | 5.9525 | 0.053427 | 4.2195 | 0.6724 | 18.7172 | 4.2195 | 0.053948 | 4.1986 | 314.5875 | 36.9984 | 39.3409 | 368.8564 | 94.5897 | 99.3837 | 339.7642 | 17.1886 | 18.1722 | 335.5261 | 13.7955 | 14.6738 | 1.2473 | 6.4378 | 520.7382 | 97.6898 | 802.4175 | 5.2158 | 0.041354 | 2.7224 | 0.16412 | 2.2657 | 3.8133 | 1.3443 | 19.9749 | 7.2225 | 83.082 | 23.2423 | 82.5492 | 15.3026 | 101.5701 | 16.1296 | 8104.9477 | 3.8454 | 93.1263 | 872.7136 | Zircon_25July22_MacEachern_Malkowski
PL 97 | 876.8133 | 95.3073 | 51.6078 | 0.1087 | 31665.7363 | 2814.7194 | 64.7891 | 0.016319 | 10.1763 | 0.4005 | 5.5864 | 0.053838 | 4.3787 | 0.74602 | 18.5743 | 4.3787 | 0.053952 | 3.4691 | 327.1762 | 33.0265 | 35.823 | 369.0366 | 78.1544 | 83.9435 | 342.008 | 16.2211 | 17.2777 | 338.0405 | 14.4205 | 15.2783 | 1.1601 | 6.3051 | 592.5202 | 101.7755 | 790.9023 | 4.2899 | 0.033105 | 3.2798 | 0.10478 | 2.4777 | 4.2398 | 1.2779 | 22.0617 | 8.4366 | 84.1533 | 24.5095 | 83.356 | 14.9769 | 110.1294 | 15.5426 | 8023.6533 | 3.6222 | 95.3073 | 876.8133 | Zircon_25July22_MacEachern_Malkowski
PL 98 | 878.7993 | 92.4216 | 50.9236 | 0.10517 | 30838.0912 | 30838.0912 | 707.2843 | 0.016763 | 11.1008 | 0.38916 | 6.983 | 0.053073 | 3.5438 | 0.4701 | 18.8421 | 3.5438 | 0.053181 | 6.017 | 336.0068 | 36.991 | 39.6378 | 336.5316 | 136.3343 | 139.7756 | 333.7565 | 19.8632 | 20.7003 | 333.3579 | 11.5133 | 12.5425 | 0.11944 | 6.8727 | 497.0923 | 102.2963 | 774.3531 | 4.5501 | 0.071482 | 2.2669 | 0.11911 | 2.7537 | 4.6964 | 1.1502 | 21.0654 | 7.8584 | 81.6535 | 23.5197 | 86.3317 | 14.3927 | 101.1053 | 15.0372 | 7969.0849 | 3.3571 | 92.4216 | 878.7993 | Zircon_25July22_MacEachern_Malkowski
PL 100 | 869.7514 | 94.1457 | 51.8655 | 0.10824 | 29716.6079 | 23774.6815 | 546.6071 | 0.016482 | 10.5811 | 0.3956 | 6.0934 | 0.054749 | 4.6233 | 0.72535 | 18.2653 | 4.6233 | 0.052407 | 3.9692 | 330.4275 | 34.6788 | 37.3568 | 303.1918 | 90.4716 | 95.7213 | 338.455 | 17.5383 | 18.5108 | 343.6091 | 15.4702 | 16.2985 | -1.5228 | 6.9691 | 557.5642 | 99.2254 | 779.6118 | 4.7508 |  | 2.6588 | 0.1389 | 4.0253 | 4.1879 | 1.1792 | 21.6494 | 8.302 | 85.4712 | 25.2355 | 84.0651 | 15.5474 | 113.4572 | 14.9696 | 8123.1265 | 3.5269 | 94.1457 | 869.7514 | Zircon_25July22_MacEachern_Malkowski
PL 101 | 847.2009 | 93.1584 | 49.9375 | 0.10996 | 29937.5295 | 7424.2384 | 88.8371 | 0.016651 | 12.0273 | 0.38585 | 6.1508 | 0.054074 | 3.846 | 0.58449 | 18.4932 | 3.846 | 0.051752 | 4.8001 | 333.7713 | 39.8141 | 42.1417 | 274.4662 | 109.9757 | 114.4886 | 331.3313 | 17.3886 | 18.3489 | 339.4849 | 12.7187 | 13.6975 | -2.4609 | 6.6068 | 561.5122 | 98.3019 | 772.3254 | 5.5313 |  | 2.7573 | 0.15998 | 2.2735 | 4.1446 | 1.2205 | 21.7354 | 7.9971 | 84.2008 | 23.1882 | 80.362 | 15.3443 | 101.3147 | 15.0668 | 8355.0088 | 2.7399 | 93.1584 | 847.2009 | Zircon_25July22_MacEachern_Malkowski
PL 102 | 900.6769 | 97.7697 | 50.965 | 0.10855 | 30058.0313 | 1849.7128 | 36.5509 | 0.01638 | 13.2801 | 0.38497 | 3.7624 | 0.051777 | 2.9206 | 0.68826 | 19.3135 | 2.9206 | 0.053925 | 2.3719 | 328.3985 | 43.2591 | 45.3383 | 367.8796 | 53.4456 | 61.9546 | 330.689 | 10.6189 | 12.1249 | 325.4235 | 9.2684 | 10.4752 | 1.5923 | 4.2239 | 541.2521 | 98.5649 | 798.3458 | 4.7234 |  | 2.4568 | 0.16035 | 1.8654 | 5.2 | 1.2717 | 19.9056 | 8.3682 | 87.7145 | 24.9928 | 81.6634 | 14.7713 | 115.6502 | 14.8972 | 8047.6984 | 3.4989 | 97.7697 | 900.6769 | Zircon_25July22_MacEachern_Malkowski
PL 103 | 819.6776 | 86.0857 | 47.3603 | 0.10502 | 29044.3399 | 29044.3399 | 528.3366 | 0.017233 | 10.0874 | 0.38467 | 6.3243 | 0.052995 | 4.0799 | 0.60756 | 18.8698 | 4.0799 | 0.052645 | 4.8323 | 345.3519 | 34.541 | 37.364 | 313.5265 | 109.9416 | 114.4132 | 330.4708 | 17.8397 | 18.7742 | 332.8818 | 13.2365 | 14.1445 | -0.72954 | 6.7536 | 461.261 | 95.4625 | 654.1625 | 5.3464 |  | 2.1033 | 0.20238 | 2.4821 | 4.1973 | 0.78378 | 17.7895 | 6.8029 | 72.1038 | 21.4224 | 71.0008 | 11.8727 | 87.3367 | 11.5835 | 7801.2288 | 3.0915 | 86.0857 | 819.6776 | Zircon_25July22_MacEachern_Malkowski
PL 104 | 831.5587 | 89.1509 | 49.0374 | 0.10721 | 29095.3746 | 862.0801 | 14.8298 | 0.017921 | 12.1397 | 0.40423 | 5.3541 | 0.053926 | 3.3051 | 0.56241 | 18.5438 | 3.3051 | 0.054366 | 4.2122 | 359.0049 | 43.1975 | 45.6574 | 386.197 | 94.6103 | 99.6546 | 344.7111 | 15.6498 | 16.7839 | 338.5817 | 10.9016 | 12.0232 | 1.7781 | 5.4668 | 436.0218 | 95.4817 | 705.0439 | 4.5428 |  | 2.2585 | 0.213 | 3.4104 | 4.3564 | 0.60935 | 17.5873 | 7.733 | 72.186 | 22.0919 | 74.0349 | 12.2173 | 86.4498 | 13.0288 | 8740.6296 | 3.0365 | 89.1509 | 831.5587 | Zircon_25July22_MacEachern_Malkowski
Secondary standards
91500 126 | 53.6528 | 14.681 | 10.9413 | 0.27363 | 6144.5548 | 597.5838 | 11.3272 | 0.064009 | 10.5905 | 1.7457 | 11.1239 | 0.17752 | 7.5574 | 0.66809 | 5.633 | 7.5574 | 0.071319 | 8.1626 | 1254.0465 | 128.7742 | 137.8583 | 966.5972 | 166.6177 | 168.9732 | 1025.5722 | 71.8132 | 72.9963 | 1053.4388 | 73.4475 | 74.8573 | -2.7172 | 10.1499 | 111.4211 | 3.9317 | 52.0541 | 1.0277 |  | 1.5305 |  |  |  | 0.071621 |  | 0.24926 | 4.3757 | 1.9847 | 9.5068 | 2.4802 | 28.4738 | 5.0745 | 3034.1596 | 0.6933 | 14.681 | 53.6528 | Zircon_25July22_MacEachern_Malkowski
91500 127 | 51.9706 | 14.3118 | 10.9959 | 0.27538 | 5952.8925 | 578.9407 | 13.2728 | 0.063201 | 13.235 | 1.7931 | 8.9694 | 0.18514 | 5.5864 | 0.60448 | 5.4014 | 5.5864 | 0.070246 | 7.0174 | 1238.6925 | 159.0186 | 166.8735 | 935.5542 | 143.9282 | 146.5903 | 1042.9666 | 58.4677 | 59.9217 | 1094.9766 | 56.2563 | 58.2165 | -4.9867 | 7.9833 | 7.3922 | 3.9087 | 49.9268 | 0.66999 |  | 1.3706 | 0.022896 |  |  | 0.10438 | 0.73248 | 0.27558 | 3.7652 | 1.8225 | 10.7558 | 2.4156 | 27.1465 | 5.8096 | 3400.552 | 0.63767 | 14.3118 | 51.9706 | Zircon_25July22_MacEachern_Malkowski
91500 128 | 51.6904 | 16.078 | 11.6868 | 0.31104 | 6118.6179 | 6118.6179 | 141.8371 | 0.059673 | 15.7103 | 2.0485 | 9.7363 | 0.19688 | 3.6325 | 0.34712 | 5.0793 | 3.6325 | 0.075464 | 9.0332 | 1171.5059 | 178.8148 | 185.1403 | 1080.8719 | 181.2256 | 183.2544 | 1131.7984 | 66.4312 | 67.8357 | 1158.5306 | 38.5191 | 41.6247 | -2.3619 | 6.9051 | 53.1254 | 4.2321 | 56.0801 | 0.85131 |  | 1.9498 |  |  |  |  | 0.79476 | 0.29266 | 2.343 | 1.8636 | 10.6721 | 2.6522 | 31.0979 | 5.8816 | 3547.4131 | 0.85046 | 16.078 | 51.6904 | Zircon_25July22_MacEachern_Malkowski
91500 129 | 49.3621 | 14.1698 | 9.9594 | 0.28706 | 5526.1154 | 340.0626 | 9.6462 | 0.046409 | 16.5847 | 1.9611 | 12.2968 | 0.17815 | 5.1251 | 0.40224 | 5.6132 | 5.1251 | 0.079837 | 11.1779 | 916.9024 | 148.6675 | 153.5479 | 1192.9818 | 220.5792 | 222.1913 | 1102.2497 | 82.6929 | 83.7938 | 1056.8636 | 49.9579 | 52.0265 | 4.1176 | 8.5021 | 48.6927 | 4.8535 | 38.0222 | 1.0977 |  | 1.7257 | 0.034355 |  |  |  | 0.34345 | 0.28428 | 1.8584 | 1.2114 | 6.7093 | 1.9954 | 19.3765 | 3.8801 | 3270.0577 | 0.58627 | 14.1698 | 49.3621 | Zircon_25July22_MacEachern_Malkowski
91500 130 | 50.348 | 13.9701 | 10.1877 | 0.27747 | 5622.4139 | 249106680.1112 | 7910922.1358 | 0.047897 | 15.1155 | 1.8308 | 12.2044 | 0.1797 | 5.4585 | 0.43349 | 5.5647 | 5.4585 | 0.073889 | 10.9157 | 945.6391 | 139.6459 | 145.147 | 1038.4251 | 220.3939 | 222.0835 | 1056.5656 | 80.1455 | 81.2292 | 1065.3578 | 53.6017 | 55.5637 | -0.83215 | 9.1781 | 99.4265 | 5.2449 | 45.1189 | 1.2812 |  | 1.6638 | 0.022095 |  |  |  |  | 0.20895 | 2.9738 | 1.3087 | 7.8045 | 1.9553 | 25.9054 | 4.626 | 3414.0343 | 0.57919 | 13.9701 | 50.348 | Zircon_25July22_MacEachern_Malkowski
91500 131 | 49.4597 | 14.3304 | 9.9545 | 0.28974 | 5578.9648 | 4462.5071 | 140.0014 | 0.049556 | 13.3776 | 1.9321 | 9.0445 | 0.17679 | 4.3431 | 0.4562 | 5.6566 | 4.3431 | 0.079265 | 7.9336 | 977.6088 | 127.6687 | 133.9107 | 1178.7653 | 156.8808 | 159.2118 | 1092.2624 | 60.5154 | 62.0215 | 1049.3884 | 42.0593 | 44.4847 | 3.9252 | 6.5697 | 67.8612 | 4.1549 | 42.5153 | 0.80857 |  | 1.3801 |  |  |  |  | 0.68383 | 0.18581 | 3.2164 | 1.6461 | 6.8504 | 2.182 | 23.136 | 4.2686 | 3448.2956 | 0.59532 | 14.3304 | 49.4597 | Zircon_25July22_MacEachern_Malkowski
91500 132 | 53.3236 | 14.2193 | 10.4588 | 0.26666 | 5679.937 | 1135.9669 | 33.1832 | 0.052486 | 21.8313 | 1.7575 | 10.6281 | 0.17317 | 6.8388 | 0.63048 | 5.7747 | 6.8388 | 0.073607 | 8.1356 | 1033.9457 | 220.0479 | 224.1407 | 1030.7269 | 164.4488 | 166.7769 | 1029.9189 | 68.7803 | 70.0254 | 1029.5494 | 65.0744 | 66.6141 | 0.03587 | 9.1918 | 105.2875 | 6.073 | 43.5766 | 0.68582 |  | 1.6722 |  |  |  | 0.14401 | 0.38668 | 0.28943 | 3.1306 | 1.1992 | 7.1955 | 1.9697 | 23.1138 | 4.5313 | 3404.2283 | 0.68168 | 14.2193 | 53.3236 | Zircon_25July22_MacEachern_Malkowski
91500 133 | 53.3446 | 16.3003 | 11.4289 | 0.30557 | 5950.3905 | 793.3687 | 18.1311 | 0.066737 | 18.6213 | 1.8535 | 10.9444 | 0.18437 | 5.8327 | 0.51762 | 5.4238 | 5.8327 | 0.07291 | 9.2606 | 1305.788 | 235.4668 | 241.2056 | 1011.4119 | 187.7443 | 189.8731 | 1064.664 | 72.1826 | 73.4411 | 1090.8245 | 58.5322 | 60.443 | -2.4572 | 8.8588 | 47.5363 | 4.3566 | 57.8928 | 0.88351 |  | 1.6921 |  |  |  | 0.11292 |  | 0.24174 | 3.9086 | 1.6872 | 9.6961 | 2.7268 | 31.4269 | 6.3257 | 3463.616 | 0.65123 | 16.3003 | 53.3446 | Zircon_25July22_MacEachern_Malkowski
91500 134 | 50.7073 | 14.0407 | 10.6754 | 0.2769 | 5878.4867 | 940.5485 | 24.7904 | 0.072419 | 14.6757 | 1.9959 | 8.7322 | 0.17991 | 4.6 | 0.50237 | 5.5584 | 4.6 | 0.080461 | 7.4224 | 1413.1638 | 200.307 | 208.0868 | 1208.3241 | 146.1462 | 148.7239 | 1114.1259 | 59.0701 | 60.6822 | 1066.4739 | 45.2142 | 47.5657 | 4.2771 | 6.4982 | 34.1966 | 2.5856 | 51.0742 | 0.62838 |  | 2.0232 |  |  |  |  | 0.47239 | 0.2534 | 3.8567 | 1.8995 | 10.292 | 2.2097 | 30.0573 | 4.9758 | 3155.5349 | 0.46437 | 14.0407 | 50.7073 | Zircon_25July22_MacEachern_Malkowski
91500 135 | 48.2697 | 13.589 | 10.2122 | 0.28152 | 6154.5766 | 346.1089 | 8.7964 | 0.052373 | 14.1265 | 1.9901 | 7.788 | 0.18637 | 5.2906 | 0.65571 | 5.3657 | 5.2906 | 0.077444 | 5.715 | 1031.7841 | 142.0975 | 147.5138 | 1132.6306 | 113.7792 | 117.122 | 1112.1417 | 52.6307 | 54.4073 | 1101.6771 | 53.5773 | 55.6582 | 0.94094 | 6.7219 | 32.0829 | 3.9316 | 43.6307 | 0.88789 |  | 1.6903 |  |  |  | 0.1827 | 0.13487 | 0.1975 | 4.0655 | 1.5426 | 8.296 | 2.4597 | 26.2967 | 4.4135 | 3103.1716 | 0.5419 | 13.589 | 48.2697 | Zircon_25July22_MacEachern_Malkowski
91500 136 | 50.4568 | 14.3282 | 10.705 | 0.28397 | 6119.5411 | 6119.5411 | 133.9017 | 0.064572 | 17.3169 | 2.0495 | 9.6189 | 0.18289 | 6.0945 | 0.61702 | 5.4678 | 6.0945 | 0.081274 | 7.4419 | 1264.738 | 212.3014 | 217.7446 | 1228.0873 | 146.1123 | 148.6532 | 1132.1191 | 65.6408 | 67.0999 | 1082.7346 | 60.743 | 62.5288 | 4.3621 | 7.716 | 50.1299 | 4.8601 | 51.5897 | 1.044 |  | 1.593 | [5 empty] | 0.29371 | 5.1146 | 1.4407 | 8.6366 | 2.7345 | 30.3168 | 4.6506 | 3063.8712 | 0.41643 | 14.3282 | 50.4568 | Zircon_25July22_MacEachern_Malkowski
Seiland 113 | 77.1996 | 96.3767 | 9.4918 | 1.2484 | 3811.0019 | 152.438 | 3.8544 | 0.027824 | 5.8526 | 0.47226 | 21.0812 | 0.086787 | 5.2214 | 0.2388 | 11.5225 | 5.2214 | 0.039467 | 20.4243 | 554.7007 | 32.0232 | 38.5396 | -385.7433 | 531.1459 | 532.39 | 392.752 | 68.6632 | 68.9841 | 536.5069 | 26.8793 | 27.946 | -36.602 | 24.8429 | 105.7765 | 3.5014 | 366.4099 | 2.4353 |  | 3.8803 | 0.046284 | 0.26458 | 2.0239 | 1.0894 | 8.0121 | 2.648 | 35.8902 | 13.4497 | 67.3576 | 14.1703 | 130.8225 | 24.6621 | 3948.1691 | 1.8874 | 96.3767 | 77.1996 | Zircon_25July22_MacEachern_Malkowski
Seiland 114 | 77.1451 | 97.7834 | 9.7429 | 1.2675 | 3689.7086 | 3689.7086 | 124.4185 | 0.02845 | 8.7502 | 0.72746 | 12.0489 | 0.087009 | 3.687 | 0.28403 | 11.4931 | 3.687 | 0.060638 | 11.4709 | 567.0096 | 48.925 | 53.629 | 626.4038 | 247.2641 | 249.0912 | 555.063 | 51.5205 | 52.253 | 537.8231 | 19.0247 | 20.5103 | 3.1059 | 9.6246 | 14.597 | 2.2767 | 348.4266 | 2.1504 |  | 3.5202 | 0.052356 | 0.35819 | 1.4848 | 1.332 | 6.624 | 2.8817 | 34.0877 | 12.6329 | 57.5483 | 13.1394 | 119.534 | 25.0694 | 3889.2765 | 1.5969 | 97.7834 | 77.1451 | Zircon_25July22_MacEachern_Malkowski
Seiland 115 | 81.2607 | 100.8696 | 10.1914 | 1.2413 | 3666.2637 | 133.3175 | 3.5837 | 0.030151 | 9.2878 | 0.67455 | 15.2943 | 0.085102 | 5.5238 | 0.35016 | 11.7506 | 5.5238 | 0.057488 | 14.2619 | 600.4102 | 54.9449 | 60.1554 | 510.2666 | 313.5141 | 314.9453 | 523.4764 | 62.557 | 63.0979 | 526.5037 | 27.9273 | 28.9172 | -0.5783 | 13.1502 | 147.5572 | 2.1644 | 402.6544 | 2.7354 |  | 3.9237 | 0.017656 | 0.37916 | 1.3622 | 1.5792 | 9.1209 | 2.8447 | 35.3795 | 14.3541 | 60.0886 | 14.1372 | 129.195 | 25.909 | 4219.9198 | 1.6356 | 100.8696 | 81.2607 | Zircon_25July22_MacEachern_Malkowski
Seiland 116 | 80.6042 | 105.9675 | 10.1643 | 1.3147 | 3675.947 | 240.5477 | 6.3375 | 0.027604 | 13.8727 | 0.5966 | 17.9294 | 0.08753 | 4.687 | 0.25035 | 11.4246 | 4.687 | 0.049434 | 17.3059 | 550.3707 | 75.3209 | 78.6126 | 168.4104 | 404.228 | 405.4806 | 475.0725 | 68.0271 | 68.4554 | 540.9133 | 24.318 | 25.5075 | -13.8591 | 17.0885 | 108.2776 | 2.9682 | 402.685 | 1.9313 |  | 4.2375 | 0.052633 |  | 1.2283 | 1.403 | 8.8189 | 3.4899 | 39.8887 | 14.5979 | 68.9835 | 14.2588 | 132.8349 | 26.3944 | 4280.5482 | 1.7748 | 105.9675 | 80.6042 | Zircon_25July22_MacEachern_Malkowski
Seiland 117 | 87.4835 | 106.7277 | 10.0492 | 1.22 | 3682.5084 | 490.9893 | 9.5748 | 0.022847 | 5.9054 | 0.62263 | 13.0317 | 0.084461 | 4.5692 | 0.33528 | 11.8398 | 4.5692 | 0.053465 | 12.2044 | 456.598 | 26.6616 | 32.8924 | 348.6095 | 275.9355 | 277.6231 | 491.4916 | 50.7736 | 51.3731 | 522.6946 | 22.9404 | 24.1221 | -6.3486 | 11.9367 | 22.3703 | 2.7436 | 422.2507 | 2.4335 |  | 4.3212 | 0.042654 | 0.50064 | 1.4389 | 1.3957 | 9.6343 | 3.3955 | 42.1034 | 16.258 | 66.8139 | 14.2688 | 135.9534 | 28.0362 | 4406.1497 | 1.8377 | 106.7277 | 87.4835 | Zircon_25July22_MacEachern_Malkowski
Seiland 118 | 84.2274 | 106.6706 | 9.8218 | 1.2665 | 3565.9048 | 713.1842 | 15.0624 | 0.023754 | 10.8357 | 0.62838 | 15.2865 | 0.08395 | 5.3504 | 0.33884 | 11.9119 | 5.3504 | 0.054287 | 14.3196 | 474.5038 | 50.8168 | 54.6183 | 382.9853 | 321.805 | 323.2358 | 495.0841 | 59.8967 | 60.4114 | 519.6562 | 26.7125 | 27.7227 | -4.9632 | 13.7975 | 109.8188 | 2.3434 | 387.8588 | 2.0971 |  | 3.58 | 0.068124 | 0.39598 | 1.4975 | 1.5819 | 7.4918 | 3.4309 | 39.2513 | 13.7221 | 62.0873 | 14.2684 | 140.7793 | 27.1075 | 4114.9056 | 1.9566 | 106.6706 | 84.2274 | Zircon_25July22_MacEachern_Malkowski
Seiland 119 | 84.4009 | 109.4923 | 9.9355 | 1.2973 | 3585.288 | 204.8711 | 5.4342 | 0.024501 | 8.1194 | 0.64978 | 10.3229 | 0.083186 | 5.6838 | 0.53482 | 12.0213 | 5.6838 | 0.056652 | 8.6172 | 489.2443 | 39.2467 | 44.3473 | 477.9992 | 190.478 | 192.8395 | 508.3409 | 41.2828 | 42.0642 | 515.1114 | 28.1387 | 29.0893 | -1.3319 | 9.9177 | 136.9135 | 1.7219 | 391.5326 | 1.9344 |  | 4.1715 |  | 0.46126 | 1.9209 | 1.7498 | 7.3489 | 3.1102 | 39.4936 | 15.1762 | 65.2575 | 13.9725 | 138.776 | 27.3759 | 4273.1793 | 2.1783 | 109.4923 | 84.4009 | Zircon_25July22_MacEachern_Malkowski
Seiland 120 | 84.1219 | 107.1039 | 10.3151 | 1.2732 | 3780.9839 | 378.0937 | 11.7566 | 0.025082 | 8.7559 | 0.62144 | 12.386 | 0.088235 | 5.9501 | 0.4678 | 11.3333 | 5.9501 | 0.05108 | 10.8633 | 500.6987 | 43.302 | 48.1765 | 244.4792 | 250.2381 | 252.1968 | 490.7499 | 48.2015 | 48.8376 | 545.0931 | 31.1 | 32.0607 | -11.0735 | 12.6167 | 106.5333 | 0.2785 | 384.0201 | 2.2493 |  | 4.2805 | 0.027966 | 0.37344 | 0.89462 | 1.4701 | 6.6109 | 3.5658 | 40.2511 | 14.7361 | 67.4459 | 15.3389 | 140.6177 | 28.7949 | 4439.2017 | 2.0657 | 107.1039 | 84.1219 | Zircon_25July22_MacEachern_Malkowski
Seiland 121 | 78.6468 | 102.1492 | 9.9022 | 1.2988 | 3663.1242 | 732.5686 | 18.6207 | 0.027262 | 6.9966 | 0.72957 | 11.9105 | 0.08727 | 4.9345 | 0.39773 | 11.4588 | 4.9345 | 0.060632 | 10.8403 | 543.6381 | 37.5292 | 43.6309 | 626.2326 | 233.6712 | 235.5989 | 556.2992 | 51.014 | 51.7622 | 539.3685 | 25.532 | 26.6831 | 3.0435 | 10.0059 | 67.3066 |  | 381.7538 | 1.5597 |  | 4.1769 |  | 0.53554 | 0.33177 | 1.3723 | 8.431 | 2.7517 | 37.2748 | 13.8224 | 62.0088 | 13.1947 | 132.3196 | 24.9097 | 4091.6771 | 1.5048 | 102.1492 | 78.6468 | Zircon_25July22_MacEachern_Malkowski
Seiland 122 | 84.1716 | 105.6886 | 10.1877 | 1.2556 | 3449.3095 | 102.2009 | 1.6808 | 0.027314 | 10.7444 | 0.75494 | 10.9066 | 0.083258 | 4.389 | 0.38203 | 12.0108 | 4.389 | 0.065763 | 9.9845 | 544.6658 | 57.7398 | 61.8827 | 798.8803 | 209.2387 | 211.2766 | 571.0874 | 47.6398 | 48.4728 | 515.5431 | 21.746 | 22.9783 | 9.7261 | 8.4386 | 139.4977 | 1.5734 | 402.8686 | 2.6325 |  | 3.6553 |  | 0.78272 | 2.5046 | 0.95831 | 9.155 | 3.2174 | 38.3045 | 13.5278 | 64.2404 | 14.188 | 130.3407 | 26.7329 | 4319.3765 | 1.6761 | 105.6886 | 84.1716 | Zircon_25July22_MacEachern_Malkowski
Seiland 123 | 76.9086 | 78.7453 | 8.321 | 1.0239 | 3068.8896 | 3068.8896 | 104.662 | 0.02524 | 11.8047 | 0.58752 | 14.997 | 0.080017 | 5.7824 | 0.37498 | 12.4974 | 5.7824 | 0.053253 | 13.8374 | 503.8216 | 58.7396 | 62.38 | 339.5735 | 313.3663 | 314.8652 | 469.2848 | 56.356 | 56.8594 | 496.2217 | 27.617 | 28.5111 | -5.74 | 13.9956 | 69.0502 | 0.7945 | 398.8652 | 2.3253 |  | 4.4298 | 0.013557 |  | 0.077358 | 0.93097 | 5.2055 | 2.496 | 35.5206 | 13.1933 | 68.1919 | 15.363 | 139.334 | 28.5299 | 4247.7808 | 1.3312 | 78.7453 | 76.9086 | Zircon_25July22_MacEachern_Malkowski
Seiland 124 | 85.4452 | 105.6286 | 9.5081 | 1.2362 | 3258.9398 | 72.4198 | 2.3505 | 0.023012 | 9.2103 | 0.63497 | 15.1259 | 0.080145 | 5.2375 | 0.33468 | 12.4773 | 5.2375 | 0.057461 | 14.1902 | 459.8552 | 41.8757 | 46.07 | 509.2776 | 311.9836 | 313.4019 | 499.1847 | 59.6475 | 60.1714 | 496.9904 | 25.0517 | 26.0374 | 0.43957 | 12.9117 | 194.7974 | 4.7317 | 395.9758 | 2.1192 |  | 4.1524 | 0.016313 |  | 0.77449 | 1.6079 | 8.408 | 2.6409 | 41.2368 | 14.7079 | 66.719 | 15.3013 | 140.8859 | 27.1078 | 4386.892 | 1.9453 | 105.6286 | 85.4452 | Zircon_25July22_MacEachern_Malkowski